SUG Observation Report — 26 Sep 2013, AJ4CO Observatory

| Observer |  | Storm Activity |  | CML-III | Io  |
| --- | --- | --- | --- | --- | --- |
| On Duty: | unattended | Begin: | 1125 | 262° | 201° |
| Off Duty: | unattended | End: | 1150 | 283° | 206° |

| Location: | High Springs, Florida |
| --- | --- |
| Observer: | Dave Typinski |
| Instrumentation: | DPS FS-200 RJ Receivers |
| Body: | Jupiter |
| Storm Type: | non-Io-A |
| Data File(s): | AJ4CO-DPS-130926111500.sps AJ4CO-FS-200-130926111500.sps AJ4CO-RSP-130926111500.spd |

Observer Log

Observable emission ended just after onset of morning increase in HF terrestrial propagation at 20 MHz. Dominant polarization: RCP.

Io-CML Phase Plane

RJP Sky View

US-TEC Map

| Kp index, 3-hour average: | 0 |
| --- | --- |

CONUS Lightning Activity

| Instrumentation: | DPS on XTFD 30 kHz IF 300 channels 17–33 MHz |
| --- | --- |

Calibration Scale

None available; using RSS 2.2.16.

Overview Spectrogram

RCP Top, LCP Bottom

| Instrumentation: | FS-200 on SJ Array 30 kHz IF 200 Channels 18–26 MHz |
| --- | --- |

Calibration Scale

None available; using RSS 2.2.16.

Overview Spectrogram

| Instrumentation: | Jove Receivers on SJ Array 19.95 and 20.25 MHz |
| --- | --- |

Overview Strip Chart