SUG Observation Report — 03 Oct 2013

| Observatory: | AJ4CO Observatory | Instrumentation: | FS-200 on SJ Array |
| --- | --- | --- | --- |
| Location: | High Springs, Florida |  |  |
| Observer: | Dave Typinski |  |  |

| Observer On Duty (UTC): | unattended | Body: | Jupiter |
| --- | --- | --- | --- |
| Observer Off Duty (UTC): | unattended | Storm Type: | non-Io-A |

| Storm Activity (UTC) |  | CML-III | Io  | Off Axis | DE | JS  |  JE |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Begin: | 1020 | 202° | 176° | 16° | +1.76° | –82° | 5.21 AU |
| End: | 1130 | 244° | 186° | 8° |  |  |  |

| Interval |  |  |  |  |  | Fhi | Flo |  |  |  | Drift |  | Rot Rate | TEC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| # | (UTC) | L | S | N | Pol | MHz | MHz | CML | Io | ML | MHz/m | FB | #/MHz @ F | 1016/m2 |
| 1 | 1020–1040 | X |  |  |  | 18 | 25 | 208 | 178 |  |  | X | 1.7 @ 20 | unavail |
| 2 | 1110–1130 | X |  |  |  | 19 | 26 | 238 | 185 |  |  | X | 3.0 @ 20 | unavail |
| 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| Interval – Time during which something interesting was observed L, S, N – Indicates presence of L bursts, S bursts, and N events Pol – Dominant circular polarization observed Fhi, Flo – Frequency range of observed emission CML, Io – System III CML and Io phase during noted interval | ML – indicates presence of modulation lanes Drift – Observed modulation lane drift rate in MHz per minute FB – indicates presence of Faraday bands Rot Rate – Observed Faraday rotation rate in rotations per MHz at observing frequency F TEC – Ionospheric vertical total electron count during noted interval as reported by NGDC |
| --- | --- |

Observer Notes

| Data File(s): | AJ4CO-FS-200-131003102000.sps |  |
| --- | --- | --- |

Io-CML Phase Plane

RJP Sky View

US-TEC Map

Not available do to FedCo shutown.

| Kp index, 3-hour average: | 1 |
| --- | --- |

CONUS Lightning Activity

| Instrumentation: | FS-200 on SJ Array 30 kHz IF 200 Channels 18–26 MHz |
| --- | --- |

Calibration Scale

Overview Spectrogram

Interval #1

Interval #2