SUG Observation Report — December 16, 2013

| Observatory: | HNRAO | Instrumentation: | FSX Spectrograph |
| --- | --- | --- | --- |
| Location: | Industry, PA |  | JOVE II Receiver |
| Observer: | Jim Brown |  | Dual 20.1 MHz dipoles |

| Observer On Duty (UTC): | unattended | Body: | Jupiter |
| --- | --- | --- | --- |
| Observer Off Duty (UTC): | unattended | Storm Type: | Io-B |

| Storm Activity (UTC) |  | CML-III | Io  | Off Axis | DE | JS  |  JE |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Begin: | 0735 | 86.1 | 94.2 |  |  |  |  |
| End: | 0941 | 162.3 | 112.1 |  |  |  |  |

| Interval |  |  |  |  |  | Fhi | Flo |  |  |  | Drift |  | Rot Rate | TEC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| # | (UTC) | L | S | N | Pol | MHz | MHz | CML | Io | ML | MHz/m | FB | #/MHz @ F | 1016/m2 |
| 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| Interval – Time during which something interesting was observed L, S, N – Indicates presence of L bursts, S bursts, and N events Pol – Dominant circular polarization observed Fhi, Flo – Frequency range of observed emission CML, Io – System III CML and Io phase during noted interval | ML – indicates presence of modulation lanes Drift – Observed modulation lane drift rate in MHz per minute FB – indicates presence of Faraday bands Rot Rate – Observed Faraday rotation rate in rotations per MHz at observing frequency F TEC – Ionospheric vertical total electron count during noted interval as reported by NGDC |
| --- | --- |

Observer Notes

Weak L-bursting even though Jupiter was well within the beam of the antennas. Only significant L-bursting seen with SkyPipe at 20.1 MHz was at 0816 UT. On images below, FSX set with Offset: 330 and Gain: 1.5.

| Data File(s): | 131216073000HNRAO.sps 131216083000HNRAO.sps 131216093000HNRAO.sps | 131216080000HNRAO.sps 131216091500HNRAO.sps |
| --- | --- | --- |

RJP Sky View

| Instrumentation: | FSX 20.1 MHz dual phased dipoles |
| --- | --- |

Calibration Scale

Offset: 330

Gain: 1.5

Overview Spectrogram (675 sweeps)