Sample detail
Page 6 of 6

SUG Observation Report — 29 Sep 2013
	Observatory:
	Heliotown Observatory
	Instrumentation:
	FSX-4

	Location:
	Lamy, New Mexico
	
	 Single dual dipole array

	Observer:
	Thomas Ashcraft
	
	


	Observer On Duty (UTC):
	1150 UT
	Body:
	Jupiter

	Observer Off Duty (UTC):
	1400 UT
	Storm Type:
	IO-A


	Storm Activity (UTC)
	CML-III
	Io 
	Off Axis
	DE
	JS 
	 JE

	Begin:
	1130
	
	
	
	
	
	

	End:
	1328
	
	
	
	
	
	


	Interval
	
	
	
	
	Fhi
	Flo
	
	
	
	Drift
	
	Rot Rate
	TEC

	#
	(UTC)
	L
	S
	N
	Pol
	MHz
	MHz
	CML
	Io
	ML
	MHz/m
	FB
	#/MHz @ F
	1016/m2

	1
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	2
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	3
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	4
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	5
	
	
	
	
	
	
	
	
	
	
	
	
	
	

	6
	
	
	
	
	
	
	
	
	
	
	
	
	
	


	Interval – Time during which something interesting was observed

L, S, N – Indicates presence of L bursts, S bursts, and N events

Pol – Dominant circular polarization observed

Fhi, Flo – Frequency range of observed emission

CML, Io – System III CML and Io phase during noted interval
	ML – indicates presence of modulation lanes

Drift – Observed modulation lane drift rate in MHz per minute

FB – indicates presence of Faraday bands

Rot Rate – Observed Faraday rotation rate in rotations per MHz at observing frequency F

TEC – Ionospheric vertical total electron count during noted interval as reported by NGDC


	Observer Notes

	I goofed up on my settings for this Io-A. I thought recommended Io-A settings topped out at 23 MHz but was mistaken. So my reception missed Jupiter above 23 MHz for this storm.

My overview image below does not show much detail but the one minute views in the .sps file show good detail and Faraday Lanes.

.sps file sent to Dave T.

See also these time-lapses on line:
http://www.heliotown.com/Jupiter_IoA_Oct_05_2013.html
http://www.heliotown.com/Jupiter_IoA_Oct052013_timelapse2.html
Sample screen grab included.

I don't have time to add number data to this report due to time constraints.  




	Data File(s):
	
	



[image: image1]
RJP Sky View   


[image: image2]
	Instrumentation:
	FSX-4

400 channels

17–23 MHz


Calibration Scale



[image: image3.emf]0

256

512

768

1,024

1,280

1,536

1,792

2,048

2,304

2,560

2,816

3,072

3,328

3,584

3,840

4,096

1 10 100 1,000 10,000 100,000 1,000,000

Antenna Temperature (kK)

Adjusted Output Value

Heliotown FSX-4 (12-bit) Spectrograph Step Calibration – 02-Oct-2013

Adjusted Output Value & Color vs Antenna Temperature for 1.3 dB Feed Loss

Color Bar Corresponds to RSS Color Offset = 1600, Color Gain = 1.80

Adjusted Output Value = (Raw ADC Output Value - Color Offset) * Color Gain


Overview Spectrogram (675 sweeps)

[image: image4.png]T e
oA e s





[image: image5.png]= * |GHIETo Phase Plane GHT Real Time.
Fie Vew Color Mode Options Help

A s

Last Ploted.
Yy b oo
2013/10/05

132450
ML 2522
o Phase: 251.2

LEGED.
Below Horizon

Next D‘i Dotiec
Hin Frot,

Low Prob.

I Show Legend
¥ ShowScale

|
132280 132313

Date 2073 [0 [05 cd
Hi M 55

70 tine i3 [t o2 s

20 Using el Time
Lot 41110
Long: 10556030 W

HGT: 071838

30814 137180 131428 131702 131833 132215 132451






_197698352.xls
Chart1

		98605.6063475951

		49419.9215449618

		24768.6842446671

		12413.7988166429

		6514.902318136

		3341.2911175035

		1674.6629313958

		783.3525676219

		392.6567857921

		201.4278006507

		108.2199856508

		55.5511496721

		27.8920064998

		13.712548007

		6.181165399

		3.219379097

		1.6639911744



Heliotown FSX-4 (12-bit) Spectrograph Step Calibration – 02-Oct-2013

Adjusted Output Value & Color vs Antenna Temperature for 1.3 dB Feed Loss

Color Bar Corresponds to RSS Color Offset = 1600, Color Gain = 1.80

Adjusted Output Value = (Raw ADC Output Value - Color Offset) * Color Gain

3.7 dB feed loss

Antenna Temperature (kK)

Adjusted Output Value

3900.6

3600

3321

3056.4

2791.8

2529

2268

2014.2

1762.2

1510.2

1260

1011.6

772.2

550.8

352.8

190.8

72



Calibration

		

						Heliotown FSX-4 (12-bit) Spectrograph Step Calibration														02-Oct-2013  12:51 UTC

						HP461A noise source + Kay 431D step attenuator

						Calibration Plane:				Spectrograph Input

										T0 (K)		290				RSS Color Offset:		1600		1600		0.00		0.00

										Noise source temperature (MK)		74.8				RSS Color Gain:		1.80		1.80		1.00		1.00

										Feed loss, cal plane to antenna (dB)		1.3						Solar		Jupiter		Custom 1		Custom 2

										Receiver noise figure (dB)		6.0						¯		¯		¯		¯

						Att.		Source		Equiv. Ant.		50 s Avg. @						Adjusted		Adjusted		Adjusted		Adjusted

						dB		Temp (kK)		Temp. (kK)		Average MHz						Value		Value		Value		Value

						0.1		73,098		98,606		3767						3901		3901		3767		3767

						3.1		36,636		49,420		3600						3600		3600		3600		3600

						6.1		18,362		24,769		3445						3321		3321		3445		3445

						9.1		9,204		12,414		3298						3056		3056		3298		3298

						11.9		4,831		6,515		3151						2792		2792		3151		3151

						14.8		2,478		3,341		3005						2529		2529		3005		3005

						17.8		1,243		1,675		2860						2268		2268		2860		2860

						21.1		582		783		2719						2014		2014		2719		2719

						24.1		292		393		2579						1762		1762		2579		2579

						27.0		150		201		2439						1510		1510		2439		2439

						29.7		81		108		2300						1260		1260		2300		2300

						32.6		42		56		2162						1012		1012		2162		2162

						35.6		22		28		2029						772		772		2029		2029

						38.7		11		14		1906						551		551		1906		1906

						42.2		6		6		1796						353		353		1796		1796

						45.1		3		3		1706						191		191		1706		1706

						48.1		2		2		1640						72		72		1640		1640

																																Raw ADC Output Value & Color vs Temperature Observed at Spectrograph Input

																																Color Bar Corresponds to RSS Color Offset = 0, Color Gain = 1

																																Raw ADC Output Value & Color vs Antenna Temperature for 1.3 dB Feed Loss

																																Color Bar Corresponds to RSS Color Offset = 0, Color Gain = 1

														Radio-Sky Spectrograph Configuration:		Offset:		1600		Gain:		1.80

																																Adjusted Output Value & Color vs Antenna Temperature for 1.3 dB Feed Loss

																																Color Bar Corresponds to RSS Color Offset = 1600, Color Gain = 1.80
Adjusted Output Value = (Raw ADC Output Value - Color Offset) * Color Gain

														Radio-Sky Spectrograph Configuration:		Offset:		1600		Gain:		1.80

																																Heliotown FSX-4 (12-bit) Spectrograph Step Calibration – 02-Oct-2013

																																Adjusted Output Value & Color vs Antenna Temperature for 1.3 dB Feed Loss

Color Bar Corresponds to RSS Color Offset = 1600, Color Gain = 1.80

Adjusted Output Value = (Raw ADC Output Value - Color Offset) * Color Gain

														Radio-Sky Spectrograph Configuration:		Offset:		0		Gain:		1.00

																																Adjusted Output Value & Color vs Antenna Temperature for 1.3 dB Feed Loss

																																Color Bar Corresponds to RSS Color Offset = 0, Color Gain = 1.00
Adjusted Output Value = (Raw ADC Output Value - Color Offset) * Color Gain

														Radio-Sky Spectrograph Configuration:		Offset:		0		Gain:		1.00

																																Adjusted Output Value & Color vs Antenna Temperature for 1.3 dB Feed Loss

																																Color Bar Corresponds to RSS Color Offset = 0, Color Gain = 1.00
Adjusted Output Value = (Raw ADC Output Value - Color Offset) * Color Gain

																																Detector Output vs Frequency vs Temperature Observed at Spectrograph Input

																																ADC Voltage Reference = 4.096 V     Receiver Noise Figure = 6 dB





Calibration

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0



Series 1

Antenna Temperature (kK)

Adjusted Ouput Value

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



RSS Step cal data

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0



Series 1

Antenna Temperature (kK)

Adjusted Output Value

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Millivolts

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0



Series 1

Antenna Temperature (kK)

ADC Output Value

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		51748.96

		25935.92

		12998.75

		6666.56

		3458.61

		1753.48

		848.99

		411.06

		208.4

		109.37

		57.4

		29.1

		14.42

		6.74

		3.23

		1.64



Raw ADC Output Value & Color vs Antenna Temperature for 1.3 dB Feed Loss

Adjusted Output Value & Color vs Antenna Temperature for 1.3 dB Feed Loss

Image Below
Offset: 1600
Gain: 1.80

Series 1

Temperature Observed at Calibration Plane (kK)

ADC Output Value

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

Raw ADC Output Value & Color vs Temperature Observed at Spectrograph Input

73,100 kK

18,400 kK

4,830 kK

1,240 kK

292 kK

81 kK

22 kK

5.7 kK

2.3 kK

Frequency (MHz)

Detector Output (mV)

26.476

26.476

26.476

26.476

26.476

26.476

26.476

26.476

26.476

26.453

26.453

26.453

26.453

26.453

26.453

26.453

26.453

26.453

26.429

26.429

26.429

26.429

26.429

26.429

26.429

26.429

26.429

26.405

26.405

26.405

26.405

26.405

26.405

26.405

26.405

26.405

26.381

26.381

26.381

26.381

26.381

26.381

26.381

26.381

26.381

26.358

26.358

26.358

26.358

26.358

26.358

26.358

26.358

26.358

26.334

26.334

26.334

26.334

26.334

26.334

26.334

26.334

26.334

26.31

26.31

26.31

26.31

26.31

26.31

26.31

26.31

26.31

26.286

26.286

26.286

26.286

26.286

26.286

26.286

26.286

26.286

26.263

26.263

26.263

26.263

26.263

26.263

26.263

26.263

26.263

26.239

26.239

26.239

26.239

26.239

26.239

26.239

26.239

26.239

26.215

26.215

26.215

26.215

26.215

26.215

26.215

26.215

26.215

26.191

26.191

26.191

26.191

26.191

26.191

26.191

26.191

26.191

26.168

26.168

26.168

26.168

26.168

26.168

26.168

26.168

26.168

26.144

26.144

26.144

26.144

26.144

26.144

26.144

26.144

26.144

26.12

26.12

26.12

26.12

26.12

26.12

26.12

26.12

26.12

26.096

26.096

26.096

26.096

26.096

26.096

26.096

26.096

26.096

26.073

26.073

26.073

26.073

26.073

26.073

26.073

26.073

26.073

26.049

26.049

26.049

26.049

26.049

26.049

26.049

26.049

26.049

26.025

26.025

26.025

26.025

26.025

26.025

26.025

26.025

26.025

26.001

26.001

26.001

26.001

26.001

26.001

26.001

26.001

26.001

25.978

25.978

25.978

25.978

25.978

25.978

25.978

25.978

25.978

25.954

25.954

25.954

25.954

25.954

25.954

25.954

25.954

25.954

25.93

25.93

25.93

25.93

25.93

25.93

25.93

25.93

25.93

25.906

25.906

25.906

25.906

25.906

25.906

25.906

25.906

25.906

25.883

25.883

25.883

25.883

25.883

25.883

25.883

25.883

25.883

25.859

25.859

25.859

25.859

25.859

25.859

25.859

25.859

25.859

25.835

25.835

25.835

25.835

25.835

25.835

25.835

25.835

25.835

25.811

25.811

25.811

25.811

25.811

25.811

25.811

25.811

25.811

25.788

25.788

25.788

25.788

25.788

25.788

25.788

25.788

25.788

25.764

25.764

25.764

25.764

25.764

25.764

25.764

25.764

25.764

25.74

25.74

25.74

25.74

25.74

25.74

25.74

25.74

25.74

25.716

25.716

25.716

25.716

25.716

25.716

25.716

25.716

25.716

25.693

25.693

25.693

25.693

25.693

25.693

25.693

25.693

25.693

25.669

25.669

25.669

25.669

25.669

25.669

25.669

25.669

25.669

25.645

25.645

25.645

25.645

25.645

25.645

25.645

25.645

25.645

25.621

25.621

25.621

25.621

25.621

25.621

25.621

25.621

25.621

25.598

25.598

25.598

25.598

25.598

25.598

25.598

25.598

25.598

25.574

25.574

25.574

25.574

25.574

25.574

25.574

25.574

25.574

25.55

25.55

25.55

25.55

25.55

25.55

25.55

25.55

25.55

25.526

25.526

25.526

25.526

25.526

25.526

25.526

25.526

25.526

25.503

25.503

25.503

25.503

25.503

25.503

25.503

25.503

25.503

25.479

25.479

25.479

25.479

25.479

25.479

25.479

25.479

25.479

25.455

25.455

25.455

25.455

25.455

25.455

25.455

25.455

25.455

25.431

25.431

25.431

25.431

25.431

25.431

25.431

25.431

25.431

25.408

25.408

25.408

25.408

25.408

25.408

25.408

25.408

25.408

25.384

25.384

25.384

25.384

25.384

25.384

25.384

25.384

25.384

25.36

25.36

25.36

25.36

25.36

25.36

25.36

25.36

25.36

25.336

25.336

25.336

25.336

25.336

25.336

25.336

25.336

25.336

25.313

25.313

25.313

25.313

25.313

25.313

25.313

25.313

25.313

25.289

25.289

25.289

25.289

25.289

25.289

25.289

25.289

25.289

25.265

25.265

25.265

25.265

25.265

25.265

25.265

25.265

25.265

25.241

25.241

25.241

25.241

25.241

25.241

25.241

25.241

25.241

25.218

25.218

25.218

25.218

25.218

25.218

25.218

25.218

25.218

25.194

25.194

25.194

25.194

25.194

25.194

25.194

25.194

25.194

25.17

25.17

25.17

25.17

25.17

25.17

25.17

25.17

25.17

25.146

25.146

25.146

25.146

25.146

25.146

25.146

25.146

25.146

25.123

25.123

25.123

25.123

25.123

25.123

25.123

25.123

25.123

25.099

25.099

25.099

25.099

25.099

25.099

25.099

25.099

25.099

25.075

25.075

25.075

25.075

25.075

25.075

25.075

25.075

25.075

25.051

25.051

25.051

25.051

25.051

25.051

25.051

25.051

25.051

25.028

25.028

25.028

25.028

25.028

25.028

25.028

25.028

25.028

25.004

25.004

25.004

25.004

25.004

25.004

25.004

25.004

25.004

24.98

24.98

24.98

24.98

24.98

24.98

24.98

24.98

24.98

24.956

24.956

24.956

24.956

24.956

24.956

24.956

24.956

24.956

24.933

24.933

24.933

24.933

24.933

24.933

24.933

24.933

24.933

24.909

24.909

24.909

24.909

24.909

24.909

24.909

24.909

24.909

24.885

24.885

24.885

24.885

24.885

24.885

24.885

24.885

24.885

24.861

24.861

24.861

24.861

24.861

24.861

24.861

24.861

24.861

24.838

24.838

24.838

24.838

24.838

24.838

24.838

24.838

24.838

24.814

24.814

24.814

24.814

24.814

24.814

24.814

24.814

24.814

24.79

24.79

24.79

24.79

24.79

24.79

24.79

24.79

24.79

24.766

24.766

24.766

24.766

24.766

24.766

24.766

24.766

24.766

24.743

24.743

24.743

24.743

24.743

24.743

24.743

24.743

24.743

24.719

24.719

24.719

24.719

24.719

24.719

24.719

24.719

24.719

24.695

24.695

24.695

24.695

24.695

24.695

24.695

24.695

24.695

24.671

24.671

24.671

24.671

24.671

24.671

24.671

24.671

24.671

24.648

24.648

24.648

24.648

24.648

24.648

24.648

24.648

24.648

24.624

24.624

24.624

24.624

24.624

24.624

24.624

24.624

24.624

24.6

24.6

24.6

24.6

24.6

24.6

24.6

24.6

24.6

24.576

24.576

24.576

24.576

24.576

24.576

24.576

24.576

24.576

24.553

24.553

24.553

24.553

24.553

24.553

24.553

24.553

24.553

24.529

24.529

24.529

24.529

24.529

24.529

24.529

24.529

24.529

24.505

24.505

24.505

24.505

24.505

24.505

24.505

24.505

24.505

24.481

24.481

24.481

24.481

24.481

24.481

24.481

24.481

24.481

24.458

24.458

24.458

24.458

24.458

24.458

24.458

24.458

24.458

24.434

24.434

24.434

24.434

24.434

24.434

24.434

24.434

24.434

24.41

24.41

24.41

24.41

24.41

24.41

24.41

24.41

24.41

24.386

24.386

24.386

24.386

24.386

24.386

24.386

24.386

24.386

24.363

24.363

24.363

24.363

24.363

24.363

24.363

24.363

24.363

24.339

24.339

24.339

24.339

24.339

24.339

24.339

24.339

24.339

24.315

24.315

24.315

24.315

24.315

24.315

24.315

24.315

24.315

24.291

24.291

24.291

24.291

24.291

24.291

24.291

24.291

24.291

24.268

24.268

24.268

24.268

24.268

24.268

24.268

24.268

24.268

24.244

24.244

24.244

24.244

24.244

24.244

24.244

24.244

24.244

24.22

24.22

24.22

24.22

24.22

24.22

24.22

24.22

24.22

24.196

24.196

24.196

24.196

24.196

24.196

24.196

24.196

24.196

24.173

24.173

24.173

24.173

24.173

24.173

24.173

24.173

24.173

24.149

24.149

24.149

24.149

24.149

24.149

24.149

24.149

24.149

24.125

24.125

24.125

24.125

24.125

24.125

24.125

24.125

24.125

24.101

24.101

24.101

24.101

24.101

24.101

24.101

24.101

24.101

24.078

24.078

24.078

24.078

24.078

24.078

24.078

24.078

24.078

24.054

24.054

24.054

24.054

24.054

24.054

24.054

24.054

24.054

24.03

24.03

24.03

24.03

24.03

24.03

24.03

24.03

24.03

24.006

24.006

24.006

24.006

24.006

24.006

24.006

24.006

24.006

23.983

23.983

23.983

23.983

23.983

23.983

23.983

23.983

23.983

23.959

23.959

23.959

23.959

23.959

23.959

23.959

23.959

23.959

23.935

23.935

23.935

23.935

23.935

23.935

23.935

23.935

23.935

23.911

23.911

23.911

23.911

23.911

23.911

23.911

23.911

23.911

23.888

23.888

23.888

23.888

23.888

23.888

23.888

23.888

23.888

23.864

23.864

23.864

23.864

23.864

23.864

23.864

23.864

23.864

23.84

23.84

23.84

23.84

23.84

23.84

23.84

23.84

23.84

23.816

23.816

23.816

23.816

23.816

23.816

23.816

23.816

23.816

23.793

23.793

23.793

23.793

23.793

23.793

23.793

23.793

23.793

23.769

23.769

23.769

23.769

23.769

23.769

23.769

23.769

23.769

23.745

23.745

23.745

23.745

23.745

23.745

23.745

23.745

23.745

23.721

23.721

23.721

23.721

23.721

23.721

23.721

23.721

23.721

23.698

23.698

23.698

23.698

23.698

23.698

23.698

23.698

23.698

23.674

23.674

23.674

23.674

23.674

23.674

23.674

23.674

23.674

23.65

23.65

23.65

23.65

23.65

23.65

23.65

23.65

23.65

23.626

23.626

23.626

23.626

23.626

23.626

23.626

23.626

23.626

23.603

23.603

23.603

23.603

23.603

23.603

23.603

23.603

23.603

23.579

23.579

23.579

23.579

23.579

23.579

23.579

23.579

23.579

23.555

23.555

23.555

23.555

23.555

23.555

23.555

23.555

23.555

23.531

23.531

23.531

23.531

23.531

23.531

23.531

23.531

23.531

23.508

23.508

23.508

23.508

23.508

23.508

23.508

23.508

23.508

23.484

23.484

23.484

23.484

23.484

23.484

23.484

23.484

23.484

23.46

23.46

23.46

23.46

23.46

23.46

23.46

23.46

23.46

23.436

23.436

23.436

23.436

23.436

23.436

23.436

23.436

23.436

23.413

23.413

23.413

23.413

23.413

23.413

23.413

23.413

23.413

23.389

23.389

23.389

23.389

23.389

23.389

23.389

23.389

23.389

23.365

23.365

23.365

23.365

23.365

23.365

23.365

23.365

23.365

23.341

23.341

23.341

23.341

23.341

23.341

23.341

23.341

23.341

23.318

23.318

23.318

23.318

23.318

23.318

23.318

23.318

23.318

23.294

23.294

23.294

23.294

23.294

23.294

23.294

23.294

23.294

23.27

23.27

23.27

23.27

23.27

23.27

23.27

23.27

23.27

23.246

23.246

23.246

23.246

23.246

23.246

23.246

23.246

23.246

23.223

23.223

23.223

23.223

23.223

23.223

23.223

23.223

23.223

23.199

23.199

23.199

23.199

23.199

23.199

23.199

23.199

23.199

23.175

23.175

23.175

23.175

23.175

23.175

23.175

23.175

23.175

23.151

23.151

23.151

23.151

23.151

23.151

23.151

23.151

23.151

23.128

23.128

23.128

23.128

23.128

23.128

23.128

23.128

23.128

23.104

23.104

23.104

23.104

23.104

23.104

23.104

23.104

23.104

23.08

23.08

23.08

23.08

23.08

23.08

23.08

23.08

23.08

23.056

23.056

23.056

23.056

23.056

23.056

23.056

23.056

23.056

23.033

23.033

23.033

23.033

23.033

23.033

23.033

23.033

23.033

23.009

23.009

23.009

23.009

23.009

23.009

23.009

23.009

23.009

22.985

22.985

22.985

22.985

22.985

22.985

22.985

22.985

22.985

22.961

22.961

22.961

22.961

22.961

22.961

22.961

22.961

22.961

22.938

22.938

22.938

22.938

22.938

22.938

22.938

22.938

22.938

22.914

22.914

22.914

22.914

22.914

22.914

22.914

22.914

22.914

22.89

22.89

22.89

22.89

22.89

22.89

22.89

22.89

22.89

22.866

22.866

22.866

22.866

22.866

22.866

22.866

22.866

22.866

22.843

22.843

22.843

22.843

22.843

22.843

22.843

22.843

22.843

22.819

22.819

22.819

22.819

22.819

22.819

22.819

22.819

22.819

22.795

22.795

22.795

22.795

22.795

22.795

22.795

22.795

22.795

22.771

22.771

22.771

22.771

22.771

22.771

22.771

22.771

22.771

22.748

22.748

22.748

22.748

22.748

22.748

22.748

22.748

22.748

22.724

22.724

22.724

22.724

22.724

22.724

22.724

22.724

22.724

22.7

22.7

22.7

22.7

22.7

22.7

22.7

22.7

22.7

22.676

22.676

22.676

22.676

22.676

22.676

22.676

22.676

22.676

22.653

22.653

22.653

22.653

22.653

22.653

22.653

22.653

22.653

22.629

22.629

22.629

22.629

22.629

22.629

22.629

22.629

22.629

22.605

22.605

22.605

22.605

22.605

22.605

22.605

22.605

22.605

22.581

22.581

22.581

22.581

22.581

22.581

22.581

22.581

22.581

22.558

22.558

22.558

22.558

22.558

22.558

22.558

22.558

22.558

22.534

22.534

22.534

22.534

22.534

22.534

22.534

22.534

22.534

22.51

22.51

22.51

22.51

22.51

22.51

22.51

22.51

22.51

22.486

22.486

22.486

22.486

22.486

22.486

22.486

22.486

22.486

22.463

22.463

22.463

22.463

22.463

22.463

22.463

22.463

22.463

22.439

22.439

22.439

22.439

22.439

22.439

22.439

22.439

22.439

22.415

22.415

22.415

22.415

22.415

22.415

22.415

22.415

22.415

22.391

22.391

22.391

22.391

22.391

22.391

22.391

22.391

22.391

22.368

22.368

22.368

22.368

22.368

22.368

22.368

22.368

22.368

22.344

22.344

22.344

22.344

22.344

22.344

22.344

22.344

22.344

22.32

22.32

22.32

22.32

22.32

22.32

22.32

22.32

22.32

22.296

22.296

22.296

22.296

22.296

22.296

22.296

22.296

22.296

22.273

22.273

22.273

22.273

22.273

22.273

22.273

22.273

22.273

22.249

22.249

22.249

22.249

22.249

22.249

22.249

22.249

22.249

22.225

22.225

22.225

22.225

22.225

22.225

22.225

22.225

22.225

22.201

22.201

22.201

22.201

22.201

22.201

22.201

22.201

22.201

22.178

22.178

22.178

22.178

22.178

22.178

22.178

22.178

22.178

22.154

22.154

22.154

22.154

22.154

22.154

22.154

22.154

22.154

22.13

22.13

22.13

22.13

22.13

22.13

22.13

22.13

22.13

22.106

22.106

22.106

22.106

22.106

22.106

22.106

22.106

22.106

22.083

22.083

22.083

22.083

22.083

22.083

22.083

22.083

22.083

22.059

22.059

22.059

22.059

22.059

22.059

22.059

22.059

22.059

22.035

22.035

22.035

22.035

22.035

22.035

22.035

22.035

22.035

22.011

22.011

22.011

22.011

22.011

22.011

22.011

22.011

22.011

21.988

21.988

21.988

21.988

21.988

21.988

21.988

21.988

21.988

21.964

21.964

21.964

21.964

21.964

21.964

21.964

21.964

21.964

21.94

21.94

21.94

21.94

21.94

21.94

21.94

21.94

21.94

21.916

21.916

21.916

21.916

21.916

21.916

21.916

21.916

21.916

21.893

21.893

21.893

21.893

21.893

21.893

21.893

21.893

21.893

21.869

21.869

21.869

21.869

21.869

21.869

21.869

21.869

21.869

21.845

21.845

21.845

21.845

21.845

21.845

21.845

21.845

21.845

21.821

21.821

21.821

21.821

21.821

21.821

21.821

21.821

21.821

21.798

21.798

21.798

21.798

21.798

21.798

21.798

21.798

21.798

21.774

21.774

21.774

21.774

21.774

21.774

21.774

21.774

21.774

21.75

21.75

21.75

21.75

21.75

21.75

21.75

21.75

21.75

21.726

21.726

21.726

21.726

21.726

21.726

21.726

21.726

21.726

21.703

21.703

21.703

21.703

21.703

21.703

21.703

21.703

21.703

21.679

21.679

21.679

21.679

21.679

21.679

21.679

21.679

21.679

21.655

21.655

21.655

21.655

21.655

21.655

21.655

21.655

21.655

21.631

21.631

21.631

21.631

21.631

21.631

21.631

21.631

21.631

21.608

21.608

21.608

21.608

21.608

21.608

21.608

21.608

21.608

21.584

21.584

21.584

21.584

21.584

21.584

21.584

21.584

21.584

21.56

21.56

21.56

21.56

21.56

21.56

21.56

21.56

21.56

21.536

21.536

21.536

21.536

21.536

21.536

21.536

21.536

21.536

21.513

21.513

21.513

21.513

21.513

21.513

21.513

21.513

21.513

21.489

21.489

21.489

21.489

21.489

21.489

21.489

21.489

21.489

21.465

21.465

21.465

21.465

21.465

21.465

21.465

21.465

21.465

21.441

21.441

21.441

21.441

21.441

21.441

21.441

21.441

21.441

21.418

21.418

21.418

21.418

21.418

21.418

21.418

21.418

21.418

21.394

21.394

21.394

21.394

21.394

21.394

21.394

21.394

21.394

21.37

21.37

21.37

21.37

21.37

21.37

21.37

21.37

21.37

21.346

21.346

21.346

21.346

21.346

21.346

21.346

21.346

21.346

21.323

21.323

21.323

21.323

21.323

21.323

21.323

21.323

21.323

21.299

21.299

21.299

21.299

21.299

21.299

21.299

21.299

21.299

21.275

21.275

21.275

21.275

21.275

21.275

21.275

21.275

21.275

21.251

21.251

21.251

21.251

21.251

21.251

21.251

21.251

21.251

21.228

21.228

21.228

21.228

21.228

21.228

21.228

21.228

21.228

21.204

21.204

21.204

21.204

21.204

21.204

21.204

21.204

21.204

21.18

21.18

21.18

21.18

21.18

21.18

21.18

21.18

21.18

21.156

21.156

21.156

21.156

21.156

21.156

21.156

21.156

21.156

21.133

21.133

21.133

21.133

21.133

21.133

21.133

21.133

21.133

21.109

21.109

21.109

21.109

21.109

21.109

21.109

21.109

21.109

21.085

21.085

21.085

21.085

21.085

21.085

21.085

21.085

21.085

21.061

21.061

21.061

21.061

21.061

21.061

21.061

21.061

21.061

21.038

21.038

21.038

21.038

21.038

21.038

21.038

21.038

21.038

21.014

21.014

21.014

21.014

21.014

21.014

21.014

21.014

21.014

20.99

20.99

20.99

20.99

20.99

20.99

20.99

20.99

20.99

20.966

20.966

20.966

20.966

20.966

20.966

20.966

20.966

20.966

20.943

20.943

20.943

20.943

20.943

20.943

20.943

20.943

20.943

20.919

20.919

20.919

20.919

20.919

20.919

20.919

20.919

20.919

20.895

20.895

20.895

20.895

20.895

20.895

20.895

20.895

20.895

20.871

20.871

20.871

20.871

20.871

20.871

20.871

20.871

20.871

20.848

20.848

20.848

20.848

20.848

20.848

20.848

20.848

20.848

20.824

20.824

20.824

20.824

20.824

20.824

20.824

20.824

20.824

20.8

20.8

20.8

20.8

20.8

20.8

20.8

20.8

20.8

20.776

20.776

20.776

20.776

20.776

20.776

20.776

20.776

20.776

20.753

20.753

20.753

20.753

20.753

20.753

20.753

20.753

20.753

20.729

20.729

20.729

20.729

20.729

20.729

20.729

20.729

20.729

20.705

20.705

20.705

20.705

20.705

20.705

20.705

20.705

20.705

20.681

20.681

20.681

20.681

20.681

20.681

20.681

20.681

20.681

20.658

20.658

20.658

20.658

20.658

20.658

20.658

20.658

20.658

20.634

20.634

20.634

20.634

20.634

20.634

20.634

20.634

20.634

20.61

20.61

20.61

20.61

20.61

20.61

20.61

20.61

20.61

20.586

20.586

20.586

20.586

20.586

20.586

20.586

20.586

20.586

20.563

20.563

20.563

20.563

20.563

20.563

20.563

20.563

20.563

20.539

20.539

20.539

20.539

20.539

20.539

20.539

20.539

20.539

20.515

20.515

20.515

20.515

20.515

20.515

20.515

20.515

20.515

20.491

20.491

20.491

20.491

20.491

20.491

20.491

20.491

20.491

20.468

20.468

20.468

20.468

20.468

20.468

20.468

20.468

20.468

20.444

20.444

20.444

20.444

20.444

20.444

20.444

20.444

20.444

20.42

20.42

20.42

20.42

20.42

20.42

20.42

20.42

20.42

20.396

20.396

20.396

20.396

20.396

20.396

20.396

20.396

20.396

20.373

20.373

20.373

20.373

20.373

20.373

20.373

20.373

20.373

20.349

20.349

20.349

20.349

20.349

20.349

20.349

20.349

20.349

20.325

20.325

20.325

20.325

20.325

20.325

20.325

20.325

20.325

20.301

20.301

20.301

20.301

20.301

20.301

20.301

20.301

20.301

20.278

20.278

20.278

20.278

20.278

20.278

20.278

20.278

20.278

20.254

20.254

20.254

20.254

20.254

20.254

20.254

20.254

20.254

20.23

20.23

20.23

20.23

20.23

20.23

20.23

20.23

20.23

20.206

20.206

20.206

20.206

20.206

20.206

20.206

20.206

20.206

20.183

20.183

20.183

20.183

20.183

20.183

20.183

20.183

20.183

20.159

20.159

20.159

20.159

20.159

20.159

20.159

20.159

20.159

20.135

20.135

20.135

20.135

20.135

20.135

20.135

20.135

20.135

20.111

20.111

20.111

20.111

20.111

20.111

20.111

20.111

20.111

20.088

20.088

20.088

20.088

20.088

20.088

20.088

20.088

20.088

20.064

20.064

20.064

20.064

20.064

20.064

20.064

20.064

20.064

20.04

20.04

20.04

20.04

20.04

20.04

20.04

20.04

20.04

20.016

20.016

20.016

20.016

20.016

20.016

20.016

20.016

20.016

19.993

19.993

19.993

19.993

19.993

19.993

19.993

19.993

19.993

19.969

19.969

19.969

19.969

19.969

19.969

19.969

19.969

19.969

19.945

19.945

19.945

19.945

19.945

19.945

19.945

19.945

19.945

19.921

19.921

19.921

19.921

19.921

19.921

19.921

19.921

19.921

19.898

19.898

19.898

19.898

19.898

19.898

19.898

19.898

19.898

19.874

19.874

19.874

19.874

19.874

19.874

19.874

19.874

19.874

19.85

19.85

19.85

19.85

19.85

19.85

19.85

19.85

19.85

19.826

19.826

19.826

19.826

19.826

19.826

19.826

19.826

19.826

19.803

19.803

19.803

19.803

19.803

19.803

19.803

19.803

19.803

19.779

19.779

19.779

19.779

19.779

19.779

19.779

19.779

19.779

19.755

19.755

19.755

19.755

19.755

19.755

19.755

19.755

19.755

19.731

19.731

19.731

19.731

19.731

19.731

19.731

19.731

19.731

19.708

19.708

19.708

19.708

19.708

19.708

19.708

19.708

19.708

19.684

19.684

19.684

19.684

19.684

19.684

19.684

19.684

19.684

19.66

19.66

19.66

19.66

19.66

19.66

19.66

19.66

19.66

19.636

19.636

19.636

19.636

19.636

19.636

19.636

19.636

19.636

19.613

19.613

19.613

19.613

19.613

19.613

19.613

19.613

19.613

19.589

19.589

19.589

19.589

19.589

19.589

19.589

19.589

19.589

19.565

19.565

19.565

19.565

19.565

19.565

19.565

19.565

19.565

19.541

19.541

19.541

19.541

19.541

19.541

19.541

19.541

19.541

19.518

19.518

19.518

19.518

19.518

19.518

19.518

19.518

19.518

19.494

19.494

19.494

19.494

19.494

19.494

19.494

19.494

19.494

19.47

19.47

19.47

19.47

19.47

19.47

19.47

19.47

19.47

19.446

19.446

19.446

19.446

19.446

19.446

19.446

19.446

19.446

19.423

19.423

19.423

19.423

19.423

19.423

19.423

19.423

19.423

19.399

19.399

19.399

19.399

19.399

19.399

19.399

19.399

19.399

19.375

19.375

19.375

19.375

19.375

19.375

19.375

19.375

19.375

19.351

19.351

19.351

19.351

19.351

19.351

19.351

19.351

19.351

19.328

19.328

19.328

19.328

19.328

19.328

19.328

19.328

19.328

19.304

19.304

19.304

19.304

19.304

19.304

19.304

19.304

19.304

19.28

19.28

19.28

19.28

19.28

19.28

19.28

19.28

19.28

19.256

19.256

19.256

19.256

19.256

19.256

19.256

19.256

19.256

19.233

19.233

19.233

19.233

19.233

19.233

19.233

19.233

19.233

19.209

19.209

19.209

19.209

19.209

19.209

19.209

19.209

19.209

19.185

19.185

19.185

19.185

19.185

19.185

19.185

19.185

19.185

19.161

19.161

19.161

19.161

19.161

19.161

19.161

19.161

19.161

19.138

19.138

19.138

19.138

19.138

19.138

19.138

19.138

19.138

19.114

19.114

19.114

19.114

19.114

19.114

19.114

19.114

19.114

19.09

19.09

19.09

19.09

19.09

19.09

19.09

19.09

19.09

19.066

19.066

19.066

19.066

19.066

19.066

19.066

19.066

19.066

19.043

19.043

19.043

19.043

19.043

19.043

19.043

19.043

19.043

19.019

19.019

19.019

19.019

19.019

19.019

19.019

19.019

19.019

18.995

18.995

18.995

18.995

18.995

18.995

18.995

18.995

18.995

18.971

18.971

18.971

18.971

18.971

18.971

18.971

18.971

18.971

18.948

18.948

18.948

18.948

18.948

18.948

18.948

18.948

18.948

18.924

18.924

18.924

18.924

18.924

18.924

18.924

18.924

18.924

18.9

18.9

18.9

18.9

18.9

18.9

18.9

18.9

18.9

18.876

18.876

18.876

18.876

18.876

18.876

18.876

18.876

18.876

18.853

18.853

18.853

18.853

18.853

18.853

18.853

18.853

18.853

18.829

18.829

18.829

18.829

18.829

18.829

18.829

18.829

18.829

18.805

18.805

18.805

18.805

18.805

18.805

18.805

18.805

18.805

18.781

18.781

18.781

18.781

18.781

18.781

18.781

18.781

18.781

18.758

18.758

18.758

18.758

18.758

18.758

18.758

18.758

18.758

18.734

18.734

18.734

18.734

18.734

18.734

18.734

18.734

18.734

18.71

18.71

18.71

18.71

18.71

18.71

18.71

18.71

18.71

18.686

18.686

18.686

18.686

18.686

18.686

18.686

18.686

18.686

18.663

18.663

18.663

18.663

18.663

18.663

18.663

18.663

18.663

18.639

18.639

18.639

18.639

18.639

18.639

18.639

18.639

18.639

18.615

18.615

18.615

18.615

18.615

18.615

18.615

18.615

18.615

18.591

18.591

18.591

18.591

18.591

18.591

18.591

18.591

18.591

18.568

18.568

18.568

18.568

18.568

18.568

18.568

18.568

18.568

18.544

18.544

18.544

18.544

18.544

18.544

18.544

18.544

18.544

18.52

18.52

18.52

18.52

18.52

18.52

18.52

18.52

18.52

18.496

18.496

18.496

18.496

18.496

18.496

18.496

18.496

18.496

18.473

18.473

18.473

18.473

18.473

18.473

18.473

18.473

18.473

18.449

18.449

18.449

18.449

18.449

18.449

18.449

18.449

18.449

18.425

18.425

18.425

18.425

18.425

18.425

18.425

18.425

18.425

18.401

18.401

18.401

18.401

18.401

18.401

18.401

18.401

18.401

18.378

18.378

18.378

18.378

18.378

18.378

18.378

18.378

18.378

18.354

18.354

18.354

18.354

18.354

18.354

18.354

18.354

18.354

18.33

18.33

18.33

18.33

18.33

18.33

18.33

18.33

18.33

18.306

18.306

18.306

18.306

18.306

18.306

18.306

18.306

18.306

18.283

18.283

18.283

18.283

18.283

18.283

18.283

18.283

18.283

18.259

18.259

18.259

18.259

18.259

18.259

18.259

18.259

18.259

18.235

18.235

18.235

18.235

18.235

18.235

18.235

18.235

18.235

18.211

18.211

18.211

18.211

18.211

18.211

18.211

18.211

18.211

18.188

18.188

18.188

18.188

18.188

18.188

18.188

18.188

18.188

18.164

18.164

18.164

18.164

18.164

18.164

18.164

18.164

18.164

18.14

18.14

18.14

18.14

18.14

18.14

18.14

18.14

18.14

18.116

18.116

18.116

18.116

18.116

18.116

18.116

18.116

18.116

18.093

18.093

18.093

18.093

18.093

18.093

18.093

18.093

18.093

18.069

18.069

18.069

18.069

18.069

18.069

18.069

18.069

18.069

18.045

18.045

18.045

18.045

18.045

18.045

18.045

18.045

18.045

18.021

18.021

18.021

18.021

18.021

18.021

18.021

18.021

18.021

17.998

17.998

17.998

17.998

17.998

17.998

17.998

17.998

17.998

17.974

17.974

17.974

17.974

17.974

17.974

17.974

17.974

17.974

17.95

17.95

17.95

17.95

17.95

17.95

17.95

17.95

17.95

17.926

17.926

17.926

17.926

17.926

17.926

17.926

17.926

17.926

17.903

17.903

17.903

17.903

17.903

17.903

17.903

17.903

17.903

17.879

17.879

17.879

17.879

17.879

17.879

17.879

17.879

17.879

17.855

17.855

17.855

17.855

17.855

17.855

17.855

17.855

17.855

17.831

17.831

17.831

17.831

17.831

17.831

17.831

17.831

17.831

17.808

17.808

17.808

17.808

17.808

17.808

17.808

17.808

17.808

17.784

17.784

17.784

17.784

17.784

17.784

17.784

17.784

17.784

17.76

17.76

17.76

17.76

17.76

17.76

17.76

17.76

17.76

17.736

17.736

17.736

17.736

17.736

17.736

17.736

17.736

17.736

17.713

17.713

17.713

17.713

17.713

17.713

17.713

17.713

17.713

17.689

17.689

17.689

17.689

17.689

17.689

17.689

17.689

17.689

17.665

17.665

17.665

17.665

17.665

17.665

17.665

17.665

17.665

17.641

17.641

17.641

17.641

17.641

17.641

17.641

17.641

17.641

17.618

17.618

17.618

17.618

17.618

17.618

17.618

17.618

17.618

17.594

17.594

17.594

17.594

17.594

17.594

17.594

17.594

17.594

17.57

17.57

17.57

17.57

17.57

17.57

17.57

17.57

17.57

17.546

17.546

17.546

17.546

17.546

17.546

17.546

17.546

17.546

17.523

17.523

17.523

17.523

17.523

17.523

17.523

17.523

17.523

17.499

17.499

17.499

17.499

17.499

17.499

17.499

17.499

17.499

17.475

17.475

17.475

17.475

17.475

17.475

17.475

17.475

17.475

17.451

17.451

17.451

17.451

17.451

17.451

17.451

17.451

17.451

17.428

17.428

17.428

17.428

17.428

17.428

17.428

17.428

17.428

17.404

17.404

17.404

17.404

17.404

17.404

17.404

17.404

17.404

17.38

17.38

17.38

17.38

17.38

17.38

17.38

17.38

17.38

17.356

17.356

17.356

17.356

17.356

17.356

17.356

17.356

17.356

17.333

17.333

17.333

17.333

17.333

17.333

17.333

17.333

17.333

17.309

17.309

17.309

17.309

17.309

17.309

17.309

17.309

17.309

17.285

17.285

17.285

17.285

17.285

17.285

17.285

17.285

17.285

17.261

17.261

17.261

17.261

17.261

17.261

17.261

17.261

17.261

17.238

17.238

17.238

17.238

17.238

17.238

17.238

17.238

17.238

17.214

17.214

17.214

17.214

17.214

17.214

17.214

17.214

17.214

17.19

17.19

17.19

17.19

17.19

17.19

17.19

17.19

17.19

17.166

17.166

17.166

17.166

17.166

17.166

17.166

17.166

17.166

17.143

17.143

17.143

17.143

17.143

17.143

17.143

17.143

17.143

17.119

17.119

17.119

17.119

17.119

17.119

17.119

17.119

17.119

17.095

17.095

17.095

17.095

17.095

17.095

17.095

17.095

17.095

17.071

17.071

17.071

17.071

17.071

17.071

17.071

17.071

17.071

17.048

17.048

17.048

17.048

17.048

17.048

17.048

17.048

17.048

17.024

17.024

17.024

17.024

17.024

17.024

17.024

17.024

17.024

17

17

17

17

17

17

17

17

17

3732

3429

3134

2851

2564

2287

2019

1784

1627

3741

3422

3142

2847

2561

2285

2018

1767

1607

3736

3422

3137

2845

2565

2284

2004

1775

1605

3733

3427

3133

2848

2559

2289

2014

1769

1614

3742

3427

3142

2846

2561

2283

2009

1768

1600

3743

3437

3142

2850

2561

2284

2010

1800

1657

3747

3427

3141

2846

2563

2287

2012

1778

1623

3744

3419

3136

2845

2563

2284

2014

1769

1605

3744

3435

3132

2850

2559

2287

2014

1777

1610

3742

3424

3139

2848

2562

2285

2010

1779

1612

3749

3426

3133

2850

2570

2287

2008

1770

1615

3759

3439

3137

2848

2560

2282

2011

1775

1607

3750

3432

3129

2848

2571

2284

2007

1773

1599

3753

3433

3138

2850

2564

2289

2020

1774

1601

3759

3437

3140

2844

2566

2281

2024

1783

1638

3745

3443

3134

2853

2558

2290

2027

1769

1616

3769

3432

3135

2850

2563

2285

2009

1764

1601

3761

3427

3144

2852

2564

2293

2021

1780

1614

3756

3427

3128

2844

2569

2287

2011

1771

1606

3755

3426

3148

2843

2558

2285

2015

1777

1607

3765

3440

3144

2848

2559

2292

2004

1775

1611

3764

3437

3141

2847

2571

2287

2011

1774

1610

3763

3432

3139

2847

2565

2301

2015

1781

1607

3764

3445

3134

2856

2572

2285

2009

1780

1607

3764

3437

3143

2850

2577

2285

2017

1785

1611

3767

3429

3144

2847

2566

2291

2016

1778

1618

3772

3437

3140

2851

2571

2289

2014

1767

1607

3771

3439

3138

2853

2561

2291

2022

1785

1620

3776

3436

3151

2853

2557

2290

2019

1772

1606

3779

3441

3144

2852

2567

2293

2015

1775

1618

3773

3446

3142

2856

2567

2292

2009

1783

1624

3768

3440

3142

2857

2571

2289

2012

1774

1610

3785

3442

3146

2859

2573

2291

2016

1782

1626

3774

3439

3142

2845

2564

2292

2019

1781

1638

3784

3438

3145

2852

2579

2283

2017

1779

1612

3774

3441

3149

2857

2569

2296

2027

1786

1619

3777

3443

3147

2849

2568

2292

2022

1789

1636

3777

3438

3138

2853

2568

2289

2009

1776

1619

3778

3445

3146

2854

2565

2296

2019

1779

1620

3785

3445

3156

2851

2577

2291

2005

1787

1611

3791

3442

3144

2854

2576

2293

2016

1772

1613

3788

3445

3149

2851

2566

2286

2022

1784

1634

3772

3444

3138

2857

2573

2286

2023

1775

1620

3776

3449

3148

2856

2573

2303

2022

1788

1617

3787

3441

3162

2857

2581

2289

2024

1791

1624

3785

3437

3142

2858

2576

2294

2017

1787

1617

3775

3443

3153

2854

2570

2297

2018

1771

1610

3783

3442

3143

2852

2570

2289

2015

1785

1611

3774

3433

3147

2855

2581

2289

2018

1783

1610

3780

3442

3146

2849

2578

2293

2016

1786

1616

3787

3439

3151

2855

2571

2295

2018

1786

1621

3784

3445

3141

2859

2575

2290

2028

1780

1621

3781

3442

3151

2846

2579

2295

2029

1784

1621

3781

3444

3147

2847

2577

2297

2013

1780

1629

3782

3458

3137

2849

2577

2289

2016

1778

1613

3788

3438

3150

2853

2574

2298

2019

1786

1614

3783

3449

3152

2866

2567

2294

2015

1783

1606

3781

3452

3153

2856

2568

2295

2013

1780

1607

3777

3443

3152

2849

2569

2304

2028

1790

1621

3784

3449

3144

2856

2577

2290

2021

1786

1619

3781

3443

3147

2848

2580

2299

2021

1782

1617

3779

3441

3153

2858

2569

2288

2027

1784

1619

3781

3451

3151

2854

2583

2295

2022

1785

1626

3781

3444

3139

2846

2575

2292

2018

1784

1621

3783

3441

3151

2858

2565

2300

2021

1787

1623

3782

3449

3156

2858

2576

2297

2021

1788

1622

3780

3454

3155

2867

2581

2290

2027

1784

1614

3778

3439

3142

2848

2574

2300

2022

1783

1629

3781

3441

3157

2857

2573

2299

2020

1795

1632

3777

3446

3155

2854

2575

2294

2028

1784

1621

3781

3449

3152

2854

2577

2298

2020

1787

1633

3778

3445

3151

2866

2577

2298

2028

1801

1656

3774

3443

3141

2858

2576

2296

2023

1790

1631

3782

3452

3151

2854

2577

2303

2018

1797

1635

3781

3445

3152

2868

2582

2299

2020

1789

1627

3777

3446

3150

2864

2571

2299

2032

1789

1618

3765

3444

3153

2855

2582

2288

2026

1797

1646

3771

3448

3157

2852

2575

2295

2031

1809

1673

3783

3442

3149

2862

2578

2297

2031

1799

1647

3774

3442

3149

2858

2580

2299

2028

1803

1652

3770

3446

3160

2862

2588

2296

2025

1786

1623

3771

3441

3143

2862

2580

2296

2031

1789

1646

3764

3442

3146

2863

2576

2298

2035

1792

1621

3768

3453

3146

2856

2580

2292

2020

1787

1621

3768

3454

3146

2852

2576

2292

2021

1791

1637

3774

3448

3149

2867

2579

2298

2027

1789

1624

3768

3446

3148

2859

2587

2301

2025

1799

1635

3768

3444

3146

2858

2579

2302

2027

1799

1642

3767

3449

3149

2862

2577

2299

2024

1784

1629

3770

3459

3152

2853

2585

2300

2028

1784

1628

3769

3448

3152

2855

2574

2294

2027

1787

1631

3770

3447

3152

2872

2577

2296

2024

1792

1629

3758

3444

3151

2864

2578

2297

2024

1787

1633

3762

3444

3149

2858

2573

2295

2020

1788

1637

3765

3441

3154

2857

2572

2304

2022

1792

1638

3755

3438

3151

2853

2580

2293

2030

1789

1629

3756

3448

3150

2860

2583

2307

2024

1791

1628

3759

3448

3144

2869

2574

2306

2024

1796

1627

3759

3442

3152

2856

2571

2302

2026

1792

1631

3753

3437

3152

2858

2582

2299

2030

1786

1629

3756

3438

3160

2861

2575

2306

2031

1792

1629

3757

3440

3155

2855

2585

2303

2036

1791

1643

3756

3443

3149

2859

2569

2308

2027

1791

1622

3749

3446

3154

2858

2581

2303

2034

1788

1629

3753

3442

3155

2853

2578

2292

2017

1802

1639

3752

3441

3155

2861

2576

2294

2033

1800

1631

3750

3448

3157

2859

2568

2303

2029

1792

1632

3747

3444

3151

2865

2574

2297

2027

1786

1623

3762

3445

3150

2868

2576

2315

2024

1795

1631

3750

3446

3148

2865

2582

2303

2029

1792

1627

3753

3450

3153

2864

2569

2298

2037

1792

1637

3745

3438

3150

2867

2581

2292

2025

1789

1626

3743

3444

3152

2858

2582

2298

2023

1790

1637

3743

3434

3155

2858

2573

2298

2021

1798

1630

3742

3439

3148

2863

2578

2303

2021

1800

1630

3743

3436

3152

2862

2583

2295

2033

1790

1630

3737

3447

3147

2852

2576

2305

2018

1795

1628

3744

3442

3156

2856

2584

2300

2037

1797

1636

3745

3442

3146

2861

2576

2300

2030

1785

1628

3743

3439

3154

2858

2569

2296

2029

1794

1627

3743

3439

3148

2859

2588

2297

2029

1790

1628

3743

3439

3154

2863

2582

2298

2031

1799

1639

3734

3436

3145

2866

2578

2302

2023

1797

1639

3740

3437

3158

2867

2570

2306

2029

1795

1633

3738

3439

3147

2859

2589

2300

2030

1796

1631

3730

3435

3149

2851

2585

2300

2032

1788

1630

3729

3450

3152

2862

2588

2304

2033

1794

1639

3732

3433

3150

2866

2582

2292

2030

1795

1633

3738

3439

3153

2853

2577

2296

2029

1790

1633

3729

3442

3148

2850

2588

2298

2028

1798

1629

3734

3443

3154

2859

2571

2299

2033

1791

1639

3731

3430

3147

2857

2575

2304

2031

1796

1633

3737

3439

3147

2860

2584

2300

2031

1793

1635

3730

3441

3158

2857

2587

2299

2031

1788

1636

3735

3444

3148

2861

2579

2301

2020

1783

1634

3732

3439

3149

2865

2575

2300

2023

1795

1637

3721

3435

3152

2865

2575

2297

2037

1792

1637

3737

3436

3160

2854

2586

2306

2029

1792

1622

3735

3436

3143

2859

2582

2297

2028

1799

1626

3731

3437

3144

2856

2574

2296

2032

1797

1633

3731

3436

3152

2870

2590

2297

2031

1795

1639

3733

3442

3151

2859

2577

2299

2023

1791

1639

3740

3434

3157

2867

2573

2304

2032

1796

1639

3725

3442

3145

2859

2579

2300

2030

1791

1630

3729

3429

3151

2856

2587

2303

2034

1793

1639

3728

3441

3154

2866

2574

2301

2026

1788

1635

3728

3430

3143

2856

2577

2304

2016

1797

1631

3727

3443

3145

2858

2572

2298

2035

1791

1633

3730

3440

3148

2861

2575

2301

2019

1790

1630

3724

3435

3137

2858

2576

2293

2021

1792

1632

3728

3434

3154

2864

2588

2303

2031

1785

1635

3729

3430

3153

2859

2577

2299

2022

1791

1633

3730

3429

3153

2861

2573

2304

2035

1825

1680

3730

3433

3148

2861

2582

2295

2028

1808

1648

3727

3431

3148

2863

2583

2306

2026

1805

1631

3726

3428

3152

2861

2577

2296

2027

1790

1631

3734

3435

3149

2855

2581

2296

2031

1791

1625

3740

3443

3154

2858

2582

2289

2036

1791

1631

3727

3439

3149

2854

2579

2302

2032

1794

1641

3730

3441

3146

2859

2572

2290

2018

1797

1631

3727

3436

3150

2859

2577

2299

2034

1793

1634

3731

3439

3152

2862

2584

2302

2028

1797

1634

3728

3437

3150

2857

2577

2287

2029

1801

1639

3729

3436

3153

2853

2579

2302

2031

1795

1638

3725

3438

3155

2860

2586

2297

2033

1786

1623

3735

3438

3152

2857

2581

2290

2026

1786

1634

3732

3438

3147

2860

2576

2309

2031

1795

1632

3734

3440

3151

2849

2581

2296

2026

1800

1645

3738

3434

3161

2862

2584

2300

2030

1797

1638

3733

3437

3142

2857

2573

2299

2029

1794

1632

3735

3444

3147

2864

2581

2298

2032

1797

1632

3736

3430

3151

2862

2578

2298

2030

1798

1641

3731

3436

3154

2859

2576

2293

2027

1798

1641

3735

3447

3148

2857

2575

2309

2032

1796

1630

3723

3439

3146

2866

2580

2308

2029

1788

1625

3733

3440

3151

2860

2582

2299

2030

1802

1634

3742

3435

3153

2860

2579

2303

2018

1799

1642

3737

3437

3147

2862

2588

2304

2032

1782

1634

3735

3432

3147

2860

2576

2300

2023

1790

1624

3733

3438

3147

2859

2580

2303

2032

1798

1635

3737

3436

3144

2864

2570

2309

2030

1803

1637

3738

3435

3150

2851

2579

2299

2023

1794

1645

3738

3442

3158

2861

2575

2304

2039

1795

1628

3738

3446

3155

2858

2578

2294

2027

1794

1630

3740

3436

3152

2858

2578

2298

2030

1791

1646

3740

3444

3148

2857

2578

2299

2031

1792

1643

3744

3449

3145

2866

2575

2302

2045

1822

1715

3742

3442

3150

2860

2571

2300

2022

1801

1635

3750

3439

3143

2861

2581

2292

2028

1798

1636

3738

3444

3158

2862

2580

2296

2028

1800

1646

3744

3439

3138

2858

2584

2295

2035

1792

1635

3743

3451

3149

2861

2576

2303

2024

1788

1630

3735

3438

3158

2864

2573

2295

2018

1799

1634

3744

3443

3140

2863

2581

2300

2024

1798

1639

3743

3431

3155

2853

2585

2295

2024

1796

1641

3752

3439

3147

2855

2579

2304

2034

1784

1630

3748

3441

3147

2860

2577

2299

2027

1788

1630

3752

3441

3155

2862

2587

2298

2024

1802

1643

3745

3444

3147

2864

2580

2288

2027

1801

1650

3746

3443

3148

2866

2573

2302

2023

1791

1642

3764

3446

3150

2869

2575

2293

2026

1783

1634

3745

3441

3148

2854

2580

2303

2028

1792

1641

3755

3443

3160

2859

2578

2297

2026

1794

1645

3756

3440

3154

2866

2581

2293

2020

1794

1635

3764

3438

3148

2856

2580

2298

2029

1784

1639

3760

3455

3146

2860

2580

2303

2032

1794

1627

3759

3443

3142

2858

2573

2302

2035

1789

1641

3763

3437

3142

2866

2583

2297

2030

1796

1646

3764

3441

3141

2854

2576

2300

2026

1795

1639

3754

3437

3149

2858

2580

2302

2030

1798

1640

3764

3439

3155

2865

2582

2296

2029

1789

1636

3773

3446

3149

2862

2574

2297

2031

1793

1643

3754

3438

3144

2863

2583

2297

2037

1806

1684

3764

3450

3149

2858

2578

2292

2030

1796

1642

3763

3448

3156

2862

2577

2303

2030

1794

1643

3765

3444

3142

2864

2570

2297

2015

1800

1640

3769

3457

3156

2860

2589

2302

2032

1797

1640

3767

3443

3152

2860

2584

2291

2035

1791

1635

3770

3453

3151

2857

2584

2302

2026

1790

1629

3770

3455

3145

2857

2577

2298

2028

1798

1638

3772

3450

3148

2859

2573

2287

2027

1797

1643

3767

3447

3149

2871

2586

2296

2018

1800

1646

3776

3446

3153

2855

2579

2303

2028

1791

1639

3782

3459

3151

2862

2581

2298

2033

1803

1637

3772

3443

3154

2854

2579

2299

2030

1795

1641

3789

3450

3142

2862

2586

2304

2027

1805

1649

3777

3441

3152

2862

2571

2305

2037

1799

1640

3782

3449

3157

2867

2582

2304

2040

1863

1771

3784

3441

3158

2848

2586

2297

2036

1791

1650

3772

3444

3148

2859

2567

2288

2030

1794

1644

3787

3455

3146

2859

2568

2298

2034

1798

1651

3778

3449

3153

2867

2575

2300

2029

1799

1642

3793

3452

3142

2860

2571

2307

2029

1793

1645

3794

3444

3152

2862

2580

2294

2026

1794

1645

3786

3445

3146

2855

2578

2293

2018

1792

1648

3802

3454

3150

2874

2582

2306

2024

1804

1640

3785

3435

3145

2867

2570

2296

2024

1797

1647

3794

3452

3156

2854

2585

2294

2037

1791

1631

3793

3448

3146

2860

2570

2306

2021

1808

1640

3792

3454

3154

2865

2580

2302

2033

1794

1645

3790

3454

3154

2862

2578

2302

2021

1803

1641

3793

3454

3157

2866

2575

2306

2025

1797

1642

3793

3452

3149

2858

2583

2299

2027

1805

1646

3789

3450

3151

2862

2573

2310

2027

1799

1642

3795

3455

3159

2860

2575

2306

2020

1806

1656

3795

3451

3150

2861

2566

2298

2032

1796

1645

3790

3445

3148

2862

2581

2303

2036

1812

1672

3797

3454

3158

2860

2577

2297

2028

1808

1648

3802

3455

3152

2853

2582

2302

2027

1797

1645

3797

3444

3143

2858

2586

2308

2037

1794

1640

3795

3450

3152

2859

2580

2300

2031

1792

1645

3804

3454

3158

2862

2578

2309

2027

1797

1641

3804

3458

3167

2872

2581

2301

2025

1794

1650

3803

3454

3157

2861

2582

2304

2030

1801

1643

3804

3453

3149

2850

2577

2306

2024

1805

1644

3797

3456

3161

2860

2577

2300

2031

1800

1642

3803

3444

3148

2857

2584

2302

2029

1800

1646

3809

3453

3157

2860

2575

2297

2025

1791

1651

3812

3451

3144

2864

2582

2296

2026

1796

1646

3808

3456

3151

2861

2582

2288

2030

1802

1649

3804

3443

3156

2865

2583

2299

2040

1798

1643

3808

3451

3158

2863

2584

2296

2027

1800

1641

3807

3456

3156

2860

2575

2296

2030

1804

1643

3805

3456

3161

2859

2577

2302

2025

1794

1644

3804

3454

3157

2862

2590

2297

2025

1802

1647

3808

3450

3151

2857

2586

2299

2032

1796

1655

3803

3452

3150

2855

2574

2298

2037

1795

1643

3814

3461

3155

2862

2581

2303

2027

1802

1642

3813

3452

3149

2863

2580

2303

2027

1803

1641

3810

3450

3163

2865

2582

2302

2034

1796

1646

3812

3453

3155

2865

2591

2303

2032

1803

1654

3810

3454

3145

2855

2576

2304

2027

1803

1645

3805

3454

3149

2868

2577

2299

2034

1804

1637

3811

3450

3152

2860

2576

2300

2036

1801

1650

3814

3463

3153

2860

2576

2307

2037

1799

1642

3806

3458

3154

2856

2576

2296

2022

1802

1646

3803

3454

3146

2858

2578

2299

2026

1805

1653

3802

3455

3155

2865

2583

2299

2023

1793

1639

3813

3447

3154

2859

2580

2301

2028

1800

1648

3815

3462

3159

2867

2584

2295

2033

1799

1661

3808

3458

3153

2856

2574

2298

2031

1795

1649

3809

3454

3148

2856

2576

2303

2028

1801

1642

3808

3459

3151

2867

2585

2293

2028

1795

1652

3809

3459

3161

2851

2581

2296

2034

1796

1653

3803

3454

3150

2855

2585

2309

2027

1796

1655

3807

3457

3144

2872

2577

2292

2020

1807

1646

3803

3453

3148

2857

2577

2305

2031

1797

1649

3810

3455

3155

2860

2571

2304

2035

1796

1652

3811

3453

3160

2865

2586

2291

2031

1800

1652

3805

3448

3157

2862

2578

2299

2028

1801

1654

3806

3458

3147

2862

2580

2299

2034

1797

1647

3802

3447

3153

2859

2587

2297

2031

1796

1651

3794

3453

3153

2859

2582

2304

2036

1804

1657

3811

3459

3155

2864

2578

2304

2023

1797

1639

3800

3448

3155

2860

2584

2290

2020

1810

1652

3802

3456

3146

2862

2578

2294

2041

1800

1639

3798

3457

3160

2862

2579

2293

2031

1802

1648

3803

3454

3155

2858

2580

2294

2038

1804

1656

3807

3453

3153

2870

2581

2301

2034

1803

1653

3805

3461

3164

2863

2584

2304

2032

1804

1654

3804

3455

3161

2854

2570

2295

2028

1798

1650

3805

3451

3158

2864

2582

2297

2032

1802

1649

3796

3450

3147

2855

2582

2300

2026

1797

1651

3795

3448

3151

2861

2581

2304

2036

1801

1648

3797

3456

3148

2856

2573

2299

2025

1802

1649

3793

3458

3154

2855

2576

2301

2039

1798

1656

3808

3455

3154

2867

2577

2306

2024

1800

1670

3796

3454

3155

2868

2583

2305

2034

1802

1655

3792

3448

3148

2861

2575

2301

2026

1803

1656

3795

3453

3154

2867

2589

2306

2035

1804

1652

3795

3451

3153

2870

2581

2307

2032

1807

1657

3791

3456

3160

2865

2587

2308

2033

1798

1640

3799

3438

3149

2859

2580

2298

2032

1805

1652

3792

3447

3151

2875

2587

2307

2035

1804

1650

3797

3454

3155

2859

2575

2308

2032

1798

1663

3788

3449

3148

2868

2580

2307

2029

1802

1664

3799

3451

3146

2874

2589

2304

2039

1807

1655

3796

3464

3161

2865

2583

2307

2038

1802

1656

3789

3449

3154

2861

2587

2304

2042

1810

1653

3792

3445

3149

2857

2581

2303

2035

1804

1659

3794

3451

3160

2861

2575

2310

2037

1802

1650

3793

3452

3152

2865

2581

2305

2039

1803

1662

3782

3448

3158

2864

2573

2308

2037

1800

1653

3784

3458

3156

2866

2584

2309

2023

1800

1660

3780

3453

3155

2863

2585

2297

2032

1800

1649

3786

3445

3150

2859

2585

2301

2030

1803

1649

3778

3448

3153

2858

2584

2309

2035

1796

1648

3786

3452

3150

2865

2595

2308

2032

1804

1646

3772

3447

3148

2866

2574

2307

2034

1800

1657

3778

3443

3160

2863

2586

2296

2033

1801

1651

3782

3452

3156

2862

2585

2306

2039

1807

1655

3780

3449

3158

2861

2582

2306

2030

1799

1652

3778

3456

3156

2867

2581

2306

2032

1798

1661

3784

3450

3153

2866

2579

2309

2025

1806

1652

3775

3453

3158

2860

2593

2298

2036

1803

1652

3769

3450

3145

2865

2582

2300

2040

1802

1644

3768

3449

3162

2871

2590

2306

2038

1811

1654

3773

3442

3149

2863

2579

2306

2034

1806

1652

3780

3453

3160

2861

2587

2303

2042

1814

1676

3767

3446

3153

2861

2587

2309

2040

1823

1671

3777

3441

3153

2860

2585

2299

2037

1804

1651

3766

3450

3162

2860

2593

2299

2035

1802

1658

3770

3457

3155

2864

2592

2303

2040

1806

1659

3756

3451

3155

2867

2581

2309

2033

1808

1656

3772

3451

3163

2860

2584

2308

2033

1798

1639

3769

3447

3155

2868

2592

2312

2036

1807

1647

3771

3449

3157

2865

2584

2308

2037

1803

1658

3769

3444

3160

2863

2588

2304

2038

1807

1658

3768

3445

3157

2865

2582

2309

2039

1817

1654

3755

3452

3153

2865

2590

2300

2038

1802

1650

3767

3445

3158

2862

2584

2308

2038

1799

1653

3758

3445

3162

2868

2587

2298

2029

1812

1653

3768

3442

3155

2863

2580

2305

2037

1804

1648

3755

3449

3153

2861

2583

2305

2030

1800

1653

3764

3448

3147

2871

2587

2315

2041

1806

1650

3750

3440

3157

2866

2592

2302

2032

1805

1650

3761

3447

3159

2867

2584

2305

2041

1808

1662

3762

3443

3158

2862

2587

2303

2043

1806

1656

3761

3451

3160

2861

2585

2307

2033

1804

1652

3755

3445

3157

2870

2581

2303

2042

1808

1664

3747

3441

3163

2871

2588

2318

2042

1806

1651

3758

3453

3159

2873

2586

2314

2036

1813

1664

3759

3449

3150

2871

2581

2311

2036

1812

1643

3763

3443

3163

2874

2587

2315

2041

1797

1657

3750

3455

3157

2872

2591

2304

2042

1811

1655

3749

3451

3153

2876

2591

2305

2039

1818

1661

3755

3458

3153

2873

2586

2311

2043

1812

1654

3748

3446

3154

2864

2588

2304

2043

1799

1657

3752

3443

3154

2875

2585

2312

2044

1808

1647

3753

3443

3161

2865

2590

2313

2039

1812

1663

3747

3445

3158

2866

2584

2309

2028

1815

1661

3763

3448

3159

2872

2588

2312

2046

1816

1653

3746

3447

3164

2881

2586

2318

2039

1805

1656

3748

3457

3167

2873

2580

2315

2030

1808

1668

3740

3442

3162

2862

2596

2314

2047

1808

1662

3750

3441

3150

2873

2597

2303

2044

1808

1656

3748

3448

3154

2870

2582

2315

2043

1812

1664

3761

3452

3161

2877

2588

2307

2043

1810

1661

3738

3449

3151

2875

2585

2309

2047

1810

1652

3751

3453

3161

2871

2589

2314

2045

1807

1668

3748

3458

3158

2865

2602

2312

2046

1812

1666

3752

3447

3153

2867

2583

2303

2043

1810

1663

3745

3441

3160

2864

2591

2304

2041

1812

1660

3756

3446

3155

2869

2592

2315

2047

1812

1657

3744

3447

3159

2871

2588

2311

2035

1814

1658

3740

3452

3157

2872

2596

2316

2043

1806

1653

3746

3439

3152

2873

2592

2312

2050

1807

1666

3749

3444

3165

2864

2593

2315

2034

1813

1664

3751

3448

3156

2873

2595

2303

2037

1817

1666

3745

3448

3150

2879

2592

2309

2039

1812

1656

3733

3447

3160

2870

2586

2312

2037

1815

1663

3749

3441

3167

2863

2592

2313

2039

1807

1656

3753

3446

3148

2870

2590

2304

2032

1807

1659

3738

3444

3151

2868

2593

2308

2043

1811

1664

3744

3453

3151

2866

2582

2303

2039

1813

1660

3741

3441

3150

2866

2589

2303

2043

1808

1665

3738

3436

3154

2867

2586

2312

2033

1816

1664

3747

3437

3152

2857

2580

2307

2036

1812

1670

3735

3439

3150

2857

2585

2309

2042

1807

1661

3913

3605

3307

3011

2707

2415

2136

1895

1747

Series 1

Average Temperature at Calibration Plane (kK)

Detector Response, mV/dB

55.67

51.67

49

52.5

50.34

48.33

42.73

46.67

48.28

51.48

47.59

44.33

39.68

31.43

31.03

22



		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0

		0



Detector Output vs Frequency vs Temperature Observed at Spectrograph Input

Detector Response Averaged Over Adjacent 3 dB Calibration Steps

Series 1

Antenna Temperature (kK)

Adjusted Output Value

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

Series 1

Antenna Temperature (kK)

Adjusted Output Value

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



		Heliotown - Spectrograph Step Calibration Data

		R:\Observation Records\Spectro Step Cals\20131002 Ashcraft\RSS Step Cal Data.csv

						CSV file created:		04-Oct-2013 04:07 Local

						Step calibration performed on		02-Oct-2013  12:51 UTC

						Frequency sweep range:		17. to 26.5 MHz

						Observable temperatures are at		Spectrograph Input		and INCLUDE receiver noise figure

						Feed system loss, antenna feed points to calibration plane:		1.3		dB

						Receiver Noise Figure:		6		dB =		0.864511		kK

						Noise source:		HP 461A		Source Temp:		74800		kK

						ADC Resolution:		12		bits

						ADC Reference:		4.096		Volts

						Number of de-rotations performed to correct channel rotation bug:		1

		Values below in ADC counts, averaged from 308 sweeps (60 seconds of observation)

				Attenuator setting (dB):		0.1		3.1		6.1		9.1		11.9		14.8		17.8		21.1		24.1		27		29.7		32.6		35.6		38.7		42.2		45.1		48.1

				Temp Obs @ Spectrograph Input (kK):		73098.22		36636.47		18362.31		9203.53		4830.63		2478.01		1242.52		581.79		292.16		150.4		81.3		42.26		21.76		11.24		5.66		3.47		2.31

				Equiv Ant Temp @ feedpoints (kK):		98605.51		49419.97		24768.8		12413.95		6515.07		3341.47		1674.85		783.54		392.84		201.62		108.41		55.74		28.08		13.9		6.37		3.41		1.85

		Channel		f_c (MHz)		ADC Counts		ADC Counts		ADC Counts		ADC Counts		ADC Counts		ADC Counts		ADC Counts		ADC Counts		ADC Counts		ADC Counts		ADC Counts		ADC Counts		ADC Counts		ADC Counts		ADC Counts		ADC Counts		ADC Counts

		3 thru 398 Mean:				3767		3600		3445		3298		3151		3005		2860		2719		2579		2439		2300		2162		2029		1906		1796		1706		1640

		1		26.476		3732		3576		3429		3284		3134		2982		2851		2710		2564		2416		2287		2149		2019		1899		1784		1695		1627

		2		26.453		3741		3577		3422		3294		3142		2988		2847		2699		2561		2417		2285		2150		2018		1885		1767		1686		1607

		3		26.429		3736		3568		3422		3277		3137		2987		2845		2709		2565		2420		2284		2145		2004		1884		1775		1680		1605

		4		26.405		3733		3569		3427		3294		3133		2990		2848		2699		2559		2419		2289		2136		2014		1887		1769		1679		1614

		5		26.381		3742		3587		3427		3277		3142		2988		2846		2701		2561		2430		2283		2140		2009		1879		1768		1679		1600

		6		26.358		3743		3580		3437		3277		3142		2994		2850		2701		2561		2422		2284		2144		2010		1904		1800		1707		1657

		7		26.334		3747		3585		3427		3286		3141		2991		2846		2709		2563		2417		2287		2148		2012		1887		1778		1698		1623

		8		26.31		3744		3578		3419		3295		3136		2993		2845		2700		2563		2428		2284		2145		2014		1890		1769		1667		1605

		9		26.286		3744		3582		3435		3280		3132		2987		2850		2699		2559		2426		2287		2150		2014		1895		1777		1681		1610

		10		26.263		3742		3584		3424		3292		3139		2998		2848		2714		2562		2425		2285		2148		2010		1886		1779		1687		1612

		11		26.239		3749		3575		3426		3281		3133		2988		2850		2698		2570		2419		2287		2143		2008		1885		1770		1688		1615

		12		26.215		3759		3584		3439		3287		3137		2998		2848		2703		2560		2420		2282		2147		2011		1883		1775		1685		1607

		13		26.191		3750		3591		3432		3282		3129		2989		2848		2705		2571		2428		2284		2145		2007		1886		1773		1679		1599

		14		26.168		3753		3591		3433		3282		3138		2992		2850		2709		2564		2420		2289		2145		2020		1886		1774		1679		1601

		15		26.144		3759		3591		3437		3294		3140		2988		2844		2703		2566		2423		2281		2150		2024		1897		1783		1704		1638

		16		26.12		3745		3592		3443		3276		3134		2995		2853		2700		2558		2425		2290		2155		2027		1888		1769		1683		1616

		17		26.096		3769		3593		3432		3285		3135		2999		2850		2704		2563		2426		2285		2144		2009		1893		1764		1674		1601

		18		26.073		3761		3593		3427		3295		3144		2996		2852		2702		2564		2429		2293		2153		2021		1877		1780		1681		1614

		19		26.049		3756		3587		3427		3293		3128		2996		2844		2706		2569		2431		2287		2151		2011		1882		1771		1686		1606

		20		26.025		3755		3595		3426		3278		3148		2993		2843		2705		2558		2429		2285		2151		2015		1894		1777		1683		1607

		21		26.001		3765		3583		3440		3286		3144		2995		2848		2709		2559		2427		2292		2149		2004		1892		1775		1679		1611

		22		25.978		3764		3591		3437		3290		3141		2996		2847		2706		2571		2426		2287		2149		2011		1881		1774		1682		1610

		23		25.954		3763		3589		3432		3287		3139		2983		2847		2708		2565		2427		2301		2150		2015		1888		1781		1684		1607

		24		25.93		3764		3599		3445		3293		3134		2997		2856		2703		2572		2435		2285		2151		2009		1888		1780		1671		1607

		25		25.906		3764		3599		3437		3287		3143		2995		2850		2709		2577		2431		2285		2151		2017		1896		1785		1681		1611

		26		25.883		3767		3601		3429		3285		3144		2986		2847		2708		2566		2437		2291		2155		2016		1899		1778		1685		1618

		27		25.859		3772		3594		3437		3285		3140		2996		2851		2704		2571		2422		2289		2151		2014		1893		1767		1683		1607

		28		25.835		3771		3597		3439		3288		3138		3000		2853		2700		2561		2431		2291		2150		2022		1897		1785		1687		1620

		29		25.811		3776		3598		3436		3297		3151		2994		2853		2705		2557		2422		2290		2142		2019		1887		1772		1680		1606

		30		25.788		3779		3600		3441		3291		3144		2990		2852		2708		2567		2433		2293		2149		2015		1891		1775		1674		1618

		31		25.764		3773		3599		3446		3289		3142		3000		2856		2710		2567		2424		2292		2149		2009		1893		1783		1690		1624

		32		25.74		3768		3600		3440		3289		3142		3004		2857		2712		2571		2427		2289		2157		2012		1893		1774		1683		1610

		33		25.716		3785		3604		3442		3297		3146		2997		2859		2711		2573		2432		2291		2158		2016		1896		1782		1705		1626

		34		25.693		3774		3600		3439		3291		3142		2997		2845		2712		2564		2423		2292		2161		2019		1895		1781		1691		1638

		35		25.669		3784		3603		3438		3295		3145		2995		2852		2708		2579		2426		2283		2156		2017		1895		1779		1692		1612

		36		25.645		3774		3616		3441		3284		3149		3004		2857		2714		2569		2431		2296		2161		2027		1887		1786		1697		1619

		37		25.621		3777		3596		3443		3298		3147		3001		2849		2711		2568		2429		2292		2155		2022		1895		1789		1701		1636

		38		25.598		3777		3600		3438		3288		3138		2999		2853		2711		2568		2433		2289		2146		2009		1892		1776		1684		1619

		39		25.574		3778		3604		3445		3292		3146		3008		2854		2714		2565		2433		2296		2144		2019		1901		1779		1683		1620

		40		25.55		3785		3601		3445		3291		3156		2996		2851		2719		2577		2436		2291		2145		2005		1889		1787		1677		1611

		41		25.526		3791		3603		3442		3287		3144		2999		2854		2715		2576		2434		2293		2150		2016		1894		1772		1683		1613

		42		25.503		3788		3605		3445		3296		3149		2996		2851		2720		2566		2421		2286		2157		2022		1896		1784		1680		1634

		43		25.479		3772		3598		3444		3294		3138		3001		2857		2708		2573		2429		2286		2162		2023		1890		1775		1678		1620

		44		25.455		3776		3612		3449		3292		3148		2999		2856		2708		2573		2429		2303		2159		2022		1896		1788		1689		1617

		45		25.431		3787		3604		3441		3298		3162		3002		2857		2720		2581		2433		2289		2156		2024		1891		1791		1694		1624

		46		25.408		3785		3605		3437		3294		3142		2994		2858		2713		2576		2430		2294		2160		2017		1893		1787		1682		1617

		47		25.384		3775		3605		3443		3300		3153		2998		2854		2714		2570		2433		2297		2155		2018		1900		1771		1690		1610

		48		25.36		3783		3608		3442		3297		3143		3011		2852		2714		2570		2438		2289		2157		2015		1890		1785		1693		1611

		49		25.336		3774		3608		3433		3298		3147		2995		2855		2712		2581		2435		2289		2156		2018		1894		1783		1690		1610

		50		25.313		3780		3598		3442		3298		3146		3000		2849		2712		2578		2436		2293		2154		2016		1897		1786		1680		1616

		51		25.289		3787		3606		3439		3293		3151		2995		2855		2720		2571		2433		2295		2162		2018		1892		1786		1686		1621

		52		25.265		3784		3602		3445		3296		3141		2998		2859		2717		2575		2437		2290		2157		2028		1897		1780		1688		1621

		53		25.241		3781		3607		3442		3289		3151		3000		2846		2721		2579		2433		2295		2160		2029		1903		1784		1695		1621

		54		25.218		3781		3604		3444		3295		3147		3002		2847		2719		2577		2431		2297		2161		2013		1896		1780		1688		1629

		55		25.194		3782		3604		3458		3287		3137		2995		2849		2711		2577		2428		2289		2158		2016		1891		1778		1686		1613

		56		25.17		3788		3598		3438		3298		3150		3005		2853		2716		2574		2438		2298		2154		2019		1893		1786		1688		1614

		57		25.146		3783		3604		3449		3298		3152		3011		2866		2712		2567		2428		2294		2156		2015		1889		1783		1687		1606

		58		25.123		3781		3604		3452		3298		3153		3004		2856		2710		2568		2433		2295		2153		2013		1895		1780		1688		1607

		59		25.099		3777		3612		3443		3295		3152		2996		2849		2717		2569		2439		2304		2162		2028		1894		1790		1680		1621

		60		25.075		3784		3608		3449		3297		3144		3002		2856		2713		2577		2431		2290		2147		2021		1888		1786		1686		1619

		61		25.051		3781		3603		3443		3295		3147		3001		2848		2718		2580		2429		2299		2152		2021		1894		1782		1699		1617

		62		25.028		3779		3608		3441		3292		3153		3002		2858		2713		2569		2432		2288		2166		2027		1892		1784		1691		1619

		63		25.004		3781		3602		3451		3291		3151		3002		2854		2711		2583		2435		2295		2155		2022		1897		1785		1692		1626

		64		24.98		3781		3603		3444		3292		3139		3004		2846		2710		2575		2433		2292		2158		2018		1901		1784		1690		1621

		65		24.956		3783		3613		3441		3300		3151		3001		2858		2710		2565		2431		2300		2149		2021		1896		1787		1690		1623

		66		24.933		3782		3604		3449		3306		3156		3003		2858		2707		2576		2441		2297		2162		2021		1902		1788		1693		1622

		67		24.909		3780		3612		3454		3295		3155		3001		2867		2721		2581		2438		2290		2154		2027		1896		1784		1701		1614

		68		24.885		3778		3589		3439		3290		3142		3001		2848		2723		2574		2429		2300		2157		2022		1899		1783		1691		1629

		69		24.861		3781		3602		3441		3303		3157		3005		2857		2724		2573		2443		2299		2159		2020		1898		1795		1706		1632

		70		24.838		3777		3604		3446		3299		3155		3000		2854		2717		2575		2434		2294		2152		2028		1899		1784		1700		1621

		71		24.814		3781		3601		3449		3306		3152		3000		2854		2711		2577		2427		2298		2156		2020		1897		1787		1692		1633

		72		24.79		3778		3601		3445		3306		3151		3009		2866		2722		2577		2441		2298		2161		2028		1908		1801		1706		1656

		73		24.766		3774		3609		3443		3294		3141		3003		2858		2717		2576		2435		2296		2160		2023		1895		1790		1697		1631

		74		24.743		3782		3597		3452		3302		3151		3011		2854		2721		2577		2432		2303		2163		2018		1907		1797		1699		1635

		75		24.719		3781		3599		3445		3295		3152		3008		2868		2722		2582		2432		2299		2152		2020		1894		1789		1703		1627

		76		24.695		3777		3603		3446		3298		3150		2999		2864		2723		2571		2434		2299		2158		2032		1902		1789		1694		1618

		77		24.671		3765		3600		3444		3307		3153		3011		2855		2720		2582		2443		2288		2164		2026		1910		1797		1702		1646

		78		24.648		3771		3600		3448		3296		3157		2996		2852		2722		2575		2433		2295		2171		2031		1906		1809		1730		1673

		79		24.624		3783		3600		3442		3295		3149		3005		2862		2715		2578		2435		2297		2160		2031		1912		1799		1713		1647

		80		24.6		3774		3607		3442		3296		3149		3008		2858		2719		2580		2441		2299		2165		2028		1905		1803		1700		1652

		81		24.576		3770		3607		3446		3302		3160		3009		2862		2728		2588		2444		2296		2164		2025		1907		1786		1694		1623

		82		24.553		3771		3605		3441		3291		3143		3002		2862		2714		2580		2435		2296		2160		2031		1909		1789		1715		1646

		83		24.529		3764		3592		3442		3300		3146		3006		2863		2724		2576		2430		2298		2159		2035		1902		1792		1698		1621

		84		24.505		3768		3607		3453		3306		3146		3008		2856		2716		2580		2428		2292		2158		2020		1904		1787		1690		1621

		85		24.481		3768		3603		3454		3295		3146		3001		2852		2720		2576		2442		2292		2160		2021		1905		1791		1695		1637

		86		24.458		3774		3610		3448		3302		3149		3013		2867		2713		2579		2444		2298		2157		2027		1897		1789		1695		1624

		87		24.434		3768		3603		3446		3295		3148		3002		2859		2720		2587		2444		2301		2161		2025		1903		1799		1706		1635

		88		24.41		3768		3603		3444		3294		3146		2999		2858		2715		2579		2434		2302		2163		2027		1911		1799		1704		1642

		89		24.386		3767		3608		3449		3302		3149		3004		2862		2727		2577		2434		2299		2161		2024		1904		1784		1691		1629

		90		24.363		3770		3606		3459		3301		3152		3005		2853		2717		2585		2444		2300		2156		2028		1909		1784		1701		1628

		91		24.339		3769		3595		3448		3299		3152		2993		2855		2718		2574		2434		2294		2160		2027		1904		1787		1698		1631

		92		24.315		3770		3603		3447		3311		3152		3005		2872		2719		2577		2434		2296		2168		2024		1907		1792		1696		1629

		93		24.291		3758		3599		3444		3298		3151		3005		2864		2719		2578		2437		2297		2165		2024		1905		1787		1701		1633

		94		24.268		3762		3601		3444		3298		3149		2998		2858		2710		2573		2442		2295		2157		2020		1901		1788		1687		1637

		95		24.244		3765		3597		3441		3299		3154		3012		2857		2723		2572		2436		2304		2161		2022		1903		1792		1701		1638

		96		24.22		3755		3600		3438		3300		3151		3006		2853		2708		2580		2439		2293		2164		2030		1901		1789		1694		1629

		97		24.196		3756		3591		3448		3297		3150		2997		2860		2721		2583		2449		2307		2164		2024		1898		1791		1700		1628

		98		24.173		3759		3593		3448		3293		3144		3008		2869		2723		2574		2437		2306		2162		2024		1898		1796		1701		1627

		99		24.149		3759		3598		3442		3285		3152		3006		2856		2719		2571		2435		2302		2157		2026		1905		1792		1694		1631

		100		24.125		3753		3598		3437		3292		3152		3004		2858		2718		2582		2439		2299		2166		2030		1905		1786		1697		1629

		101		24.101		3756		3602		3438		3302		3160		3003		2861		2719		2575		2444		2306		2161		2031		1894		1792		1701		1629

		102		24.078		3757		3591		3440		3295		3155		3011		2855		2722		2585		2443		2303		2156		2036		1910		1791		1699		1643

		103		24.054		3756		3592		3443		3292		3149		3002		2859		2713		2569		2444		2308		2165		2027		1906		1791		1712		1622

		104		24.03		3749		3596		3446		3296		3154		3011		2858		2715		2581		2443		2303		2156		2034		1912		1788		1706		1629

		105		24.006		3753		3593		3442		3299		3155		3005		2853		2718		2578		2445		2292		2161		2017		1899		1802		1705		1639

		106		23.983		3752		3601		3441		3292		3155		3008		2861		2726		2576		2439		2294		2157		2033		1902		1800		1690		1631

		107		23.959		3750		3592		3448		3293		3157		3007		2859		2711		2568		2436		2303		2156		2029		1903		1792		1703		1632

		108		23.935		3747		3587		3444		3285		3151		2998		2865		2725		2574		2437		2297		2163		2027		1901		1786		1697		1623

		109		23.911		3762		3587		3445		3298		3150		3000		2868		2716		2576		2441		2315		2161		2024		1902		1795		1699		1631

		110		23.888		3750		3594		3446		3296		3148		3006		2865		2722		2582		2442		2303		2167		2029		1905		1792		1698		1627

		111		23.864		3753		3587		3450		3295		3153		3004		2864		2721		2569		2438		2298		2160		2037		1894		1792		1701		1637

		112		23.84		3745		3596		3438		3288		3150		3014		2867		2720		2581		2449		2292		2162		2025		1897		1789		1696		1626

		113		23.816		3743		3592		3444		3295		3152		3011		2858		2717		2582		2442		2298		2150		2023		1903		1790		1696		1637

		114		23.793		3743		3598		3434		3297		3155		3014		2858		2707		2573		2439		2298		2160		2021		1904		1798		1707		1630

		115		23.769		3742		3595		3439		3296		3148		3013		2863		2720		2578		2444		2303		2150		2021		1911		1800		1703		1630

		116		23.745		3743		3583		3436		3296		3152		2996		2862		2725		2583		2445		2295		2166		2033		1909		1790		1702		1630

		117		23.721		3737		3585		3447		3301		3147		3008		2852		2721		2576		2438		2305		2158		2018		1904		1795		1703		1628

		118		23.698		3744		3589		3442		3295		3156		3008		2856		2724		2584		2433		2300		2158		2037		1901		1797		1700		1636

		119		23.674		3745		3591		3442		3292		3146		3002		2861		2721		2576		2436		2300		2157		2030		1911		1785		1713		1628

		120		23.65		3743		3584		3439		3296		3154		2996		2858		2724		2569		2439		2296		2167		2029		1906		1794		1696		1627

		121		23.626		3743		3586		3439		3295		3148		3011		2859		2728		2588		2438		2297		2153		2029		1894		1790		1692		1628

		122		23.603		3743		3591		3439		3292		3154		3006		2863		2725		2582		2442		2298		2162		2031		1907		1799		1704		1639

		123		23.579		3734		3591		3436		3297		3145		3003		2866		2719		2578		2446		2302		2169		2023		1907		1797		1711		1639

		124		23.555		3740		3583		3437		3305		3158		3008		2867		2723		2570		2429		2306		2158		2029		1903		1795		1702		1633

		125		23.531		3738		3592		3439		3292		3147		3005		2859		2733		2589		2437		2300		2161		2030		1907		1796		1697		1631

		126		23.508		3730		3592		3435		3292		3149		2999		2851		2721		2585		2438		2300		2161		2032		1903		1788		1710		1630

		127		23.484		3729		3589		3450		3302		3152		3015		2862		2720		2588		2438		2304		2159		2033		1901		1794		1702		1639

		128		23.46		3732		3591		3433		3289		3150		3005		2866		2714		2582		2444		2292		2163		2030		1909		1795		1704		1633

		129		23.436		3738		3588		3439		3295		3153		2998		2853		2726		2577		2432		2296		2164		2029		1905		1790		1712		1633

		130		23.413		3729		3581		3442		3301		3148		3001		2850		2716		2588		2429		2298		2161		2028		1904		1798		1706		1629

		131		23.389		3734		3585		3443		3293		3154		3009		2859		2722		2571		2442		2299		2153		2033		1902		1791		1706		1639

		132		23.365		3731		3592		3430		3295		3147		3000		2857		2718		2575		2445		2304		2166		2031		1906		1796		1702		1633

		133		23.341		3737		3583		3439		3292		3147		3000		2860		2718		2584		2435		2300		2161		2031		1912		1793		1696		1635

		134		23.318		3730		3589		3441		3299		3158		3015		2857		2721		2587		2442		2299		2166		2031		1897		1788		1701		1636

		135		23.294		3735		3575		3444		3293		3148		3000		2861		2723		2579		2434		2301		2153		2020		1900		1783		1692		1634

		136		23.27		3732		3587		3439		3295		3149		3006		2865		2728		2575		2445		2300		2164		2023		1909		1795		1700		1637

		137		23.246		3721		3582		3435		3301		3152		3012		2865		2722		2575		2436		2297		2162		2037		1901		1792		1704		1637

		138		23.223		3737		3585		3436		3301		3160		3006		2854		2729		2586		2445		2306		2163		2029		1899		1792		1698		1622

		139		23.199		3735		3585		3436		3293		3143		3010		2859		2722		2582		2436		2297		2155		2028		1906		1799		1704		1626

		140		23.175		3731		3588		3437		3302		3144		3012		2856		2713		2574		2436		2296		2158		2032		1909		1797		1702		1633

		141		23.151		3731		3580		3436		3297		3152		3005		2870		2720		2590		2448		2297		2171		2031		1903		1795		1704		1639

		142		23.128		3733		3580		3442		3292		3151		3008		2859		2715		2577		2439		2299		2163		2023		1911		1791		1706		1639

		143		23.104		3740		3584		3434		3300		3157		3015		2867		2717		2573		2447		2304		2159		2032		1896		1796		1699		1639

		144		23.08		3725		3577		3442		3292		3145		3004		2859		2724		2579		2445		2300		2165		2030		1903		1791		1710		1630

		145		23.056		3729		3587		3429		3293		3151		3003		2856		2732		2587		2433		2303		2168		2034		1912		1793		1705		1639

		146		23.033		3728		3581		3441		3296		3154		3008		2866		2719		2574		2435		2301		2155		2026		1909		1788		1705		1635

		147		23.009		3728		3578		3430		3295		3143		2998		2856		2711		2577		2440		2304		2156		2016		1898		1797		1691		1631

		148		22.985		3727		3592		3443		3296		3145		2998		2858		2720		2572		2434		2298		2166		2035		1907		1791		1709		1633

		149		22.961		3730		3572		3440		3293		3148		3005		2861		2712		2575		2439		2301		2153		2019		1911		1790		1703		1630

		150		22.938		3724		3594		3435		3293		3137		3008		2858		2718		2576		2438		2293		2164		2021		1907		1792		1702		1632

		151		22.914		3728		3581		3434		3293		3154		2997		2864		2722		2588		2437		2303		2168		2031		1902		1785		1703		1635

		152		22.89		3729		3577		3430		3296		3153		3010		2859		2718		2577		2445		2299		2159		2022		1896		1791		1697		1633

		153		22.866		3730		3585		3429		3291		3153		3005		2861		2721		2573		2439		2304		2172		2035		1913		1825		1736		1680

		154		22.843		3730		3584		3433		3289		3148		3004		2861		2715		2582		2446		2295		2154		2028		1900		1808		1710		1648

		155		22.819		3727		3579		3431		3294		3148		3011		2863		2723		2583		2436		2306		2164		2026		1908		1805		1709		1631

		156		22.795		3726		3585		3428		3290		3152		3005		2861		2721		2577		2441		2296		2157		2027		1908		1790		1694		1631

		157		22.771		3734		3579		3435		3297		3149		3010		2855		2718		2581		2435		2296		2160		2031		1906		1791		1697		1625

		158		22.748		3740		3576		3443		3288		3154		3005		2858		2718		2582		2438		2289		2164		2036		1907		1791		1705		1631

		159		22.724		3727		3578		3439		3296		3149		3004		2854		2719		2579		2442		2302		2162		2032		1905		1794		1695		1641

		160		22.7		3730		3586		3441		3298		3146		3012		2859		2723		2572		2432		2290		2167		2018		1909		1797		1696		1631

		161		22.676		3727		3583		3436		3291		3150		3004		2859		2716		2577		2431		2299		2159		2034		1902		1793		1701		1634

		162		22.653		3731		3593		3439		3293		3152		3007		2862		2727		2584		2438		2302		2155		2028		1906		1797		1701		1634

		163		22.629		3728		3582		3437		3286		3150		3001		2857		2716		2577		2440		2287		2163		2029		1905		1801		1713		1639

		164		22.605		3729		3582		3436		3298		3153		3004		2853		2719		2579		2443		2302		2165		2031		1908		1795		1699		1638

		165		22.581		3725		3586		3438		3295		3155		3007		2860		2717		2586		2438		2297		2165		2033		1895		1786		1696		1623

		166		22.558		3735		3574		3438		3301		3152		3001		2857		2721		2581		2436		2290		2173		2026		1902		1786		1699		1634

		167		22.534		3732		3573		3438		3285		3147		3007		2860		2715		2576		2440		2309		2158		2031		1910		1795		1701		1632

		168		22.51		3734		3586		3440		3287		3151		3001		2849		2723		2581		2438		2296		2160		2026		1911		1800		1704		1645

		169		22.486		3738		3588		3434		3291		3161		3006		2862		2729		2584		2440		2300		2165		2030		1909		1797		1708		1638

		170		22.463		3733		3577		3437		3296		3142		2998		2857		2715		2573		2440		2299		2154		2029		1903		1794		1693		1632

		171		22.439		3735		3581		3444		3295		3147		3000		2864		2718		2581		2441		2298		2168		2032		1909		1797		1701		1632

		172		22.415		3736		3583		3430		3297		3151		3005		2862		2709		2578		2436		2298		2162		2030		1913		1798		1707		1641

		173		22.391		3731		3583		3436		3291		3154		2997		2859		2717		2576		2440		2293		2163		2027		1905		1798		1702		1641

		174		22.368		3735		3591		3447		3291		3148		3010		2857		2719		2575		2438		2309		2160		2032		1907		1796		1693		1630

		175		22.344		3723		3579		3439		3295		3146		2996		2866		2717		2580		2440		2308		2167		2029		1907		1788		1708		1625

		176		22.32		3733		3579		3440		3292		3151		3004		2860		2717		2582		2430		2299		2152		2030		1902		1802		1703		1634

		177		22.296		3742		3587		3435		3296		3153		3009		2860		2717		2579		2452		2303		2154		2018		1909		1799		1706		1642

		178		22.273		3737		3590		3437		3306		3147		3002		2862		2723		2588		2445		2304		2167		2032		1903		1782		1709		1634

		179		22.249		3735		3583		3432		3300		3147		3004		2860		2718		2576		2446		2300		2158		2023		1904		1790		1699		1624

		180		22.225		3733		3587		3438		3283		3147		3003		2859		2723		2580		2439		2303		2160		2032		1906		1798		1695		1635

		181		22.201		3737		3580		3436		3300		3144		3013		2864		2717		2570		2431		2309		2157		2030		1909		1803		1708		1637

		182		22.178		3738		3577		3435		3290		3150		3003		2851		2721		2579		2446		2299		2157		2023		1902		1794		1703		1645

		183		22.154		3738		3593		3442		3293		3158		3004		2861		2717		2575		2438		2304		2162		2039		1918		1795		1698		1628

		184		22.13		3738		3586		3446		3301		3155		3007		2858		2718		2578		2443		2294		2166		2027		1900		1794		1703		1630

		185		22.106		3740		3587		3436		3295		3152		3011		2858		2710		2578		2446		2298		2156		2030		1904		1791		1711		1646

		186		22.083		3740		3593		3444		3297		3148		3004		2857		2722		2578		2434		2299		2160		2031		1905		1792		1710		1643

		187		22.059		3744		3589		3449		3298		3145		2999		2866		2718		2575		2445		2302		2169		2045		1926		1822		1759		1715

		188		22.035		3742		3592		3442		3300		3150		3005		2860		2722		2571		2443		2300		2163		2022		1904		1801		1704		1635

		189		22.011		3750		3585		3439		3299		3143		3003		2861		2716		2581		2440		2292		2160		2028		1901		1798		1702		1636

		190		21.988		3738		3583		3444		3294		3158		3010		2862		2721		2580		2443		2296		2160		2028		1910		1800		1707		1646

		191		21.964		3744		3585		3439		3291		3138		3009		2858		2720		2584		2439		2295		2157		2035		1899		1792		1702		1635

		192		21.94		3743		3598		3451		3292		3149		3020		2861		2719		2576		2441		2303		2173		2024		1903		1788		1703		1630

		193		21.916		3735		3583		3438		3292		3158		3009		2864		2726		2573		2440		2295		2168		2018		1904		1799		1703		1634

		194		21.893		3744		3593		3443		3293		3140		3002		2863		2715		2581		2431		2300		2165		2024		1902		1798		1707		1639

		195		21.869		3743		3578		3431		3298		3155		3008		2853		2714		2585		2432		2295		2165		2024		1911		1796		1716		1641

		196		21.845		3752		3586		3439		3291		3147		3004		2855		2719		2579		2443		2304		2157		2034		1907		1784		1696		1630

		197		21.821		3748		3596		3441		3294		3147		3006		2860		2722		2577		2441		2299		2161		2027		1897		1788		1708		1630

		198		21.798		3752		3592		3441		3299		3155		3007		2862		2714		2587		2437		2298		2160		2024		1906		1802		1693		1643

		199		21.774		3745		3587		3444		3295		3147		2999		2864		2718		2580		2447		2288		2158		2027		1902		1801		1700		1650

		200		21.75		3746		3599		3443		3296		3148		3003		2866		2709		2573		2435		2302		2169		2023		1905		1791		1704		1642

		201		21.726		3764		3604		3446		3296		3150		3002		2869		2718		2575		2437		2293		2169		2026		1909		1783		1698		1634

		202		21.703		3745		3594		3441		3298		3148		3010		2854		2716		2580		2432		2303		2168		2028		1907		1792		1701		1641

		203		21.679		3755		3593		3443		3298		3160		3011		2859		2710		2578		2430		2297		2166		2026		1893		1794		1705		1645

		204		21.655		3756		3592		3440		3292		3154		3008		2866		2723		2581		2439		2293		2162		2020		1911		1794		1710		1635

		205		21.631		3764		3594		3438		3296		3148		3000		2856		2719		2580		2444		2298		2161		2029		1902		1784		1698		1639

		206		21.608		3760		3589		3455		3292		3146		3004		2860		2726		2580		2446		2303		2157		2032		1904		1794		1698		1627

		207		21.584		3759		3598		3443		3298		3142		3006		2858		2715		2573		2441		2302		2158		2035		1908		1789		1702		1641

		208		21.56		3763		3604		3437		3294		3142		3005		2866		2723		2583		2445		2297		2160		2030		1902		1796		1707		1646

		209		21.536		3764		3595		3441		3293		3141		3003		2854		2714		2576		2438		2300		2164		2026		1901		1795		1710		1639

		210		21.513		3754		3594		3437		3290		3149		3011		2858		2722		2580		2443		2302		2157		2030		1904		1798		1695		1640

		211		21.489		3764		3605		3439		3295		3155		3002		2865		2722		2582		2443		2296		2169		2029		1906		1789		1701		1636

		212		21.465		3773		3596		3446		3301		3149		3010		2862		2720		2574		2438		2297		2158		2031		1899		1793		1718		1643

		213		21.441		3754		3601		3438		3300		3144		3006		2863		2718		2583		2442		2297		2165		2037		1916		1806		1733		1684

		214		21.418		3764		3603		3450		3298		3149		3011		2858		2720		2578		2446		2292		2158		2030		1904		1796		1710		1642

		215		21.394		3763		3598		3448		3303		3156		3001		2862		2723		2577		2436		2303		2164		2030		1910		1794		1706		1643

		216		21.37		3765		3600		3444		3291		3142		3009		2864		2716		2570		2433		2297		2163		2015		1905		1800		1706		1640

		217		21.346		3769		3598		3457		3309		3156		3004		2860		2722		2589		2439		2302		2158		2032		1906		1797		1701		1640

		218		21.323		3767		3602		3443		3301		3152		3004		2860		2715		2584		2439		2291		2163		2035		1905		1791		1708		1635

		219		21.299		3770		3603		3453		3297		3151		3009		2857		2714		2584		2434		2302		2156		2026		1906		1790		1703		1629

		220		21.275		3770		3605		3455		3297		3145		3003		2857		2728		2577		2441		2298		2157		2028		1901		1798		1699		1638

		221		21.251		3772		3595		3450		3301		3148		3003		2859		2719		2573		2447		2287		2155		2027		1904		1797		1707		1643

		222		21.228		3767		3603		3447		3302		3149		3002		2871		2716		2586		2439		2296		2164		2018		1905		1800		1704		1646

		223		21.204		3776		3614		3446		3290		3153		3007		2855		2719		2579		2435		2303		2160		2028		1906		1791		1703		1639

		224		21.18		3782		3600		3459		3306		3151		2999		2862		2713		2581		2429		2298		2154		2033		1906		1803		1704		1637

		225		21.156		3772		3606		3443		3303		3154		3002		2854		2720		2579		2440		2299		2167		2030		1899		1795		1707		1641

		226		21.133		3789		3600		3450		3304		3142		3007		2862		2718		2586		2438		2304		2158		2027		1912		1805		1709		1649

		227		21.109		3777		3609		3441		3297		3152		2999		2862		2717		2571		2441		2305		2161		2037		1910		1799		1701		1640

		228		21.085		3782		3606		3449		3304		3157		3006		2867		2720		2582		2444		2304		2170		2040		1938		1863		1811		1771

		229		21.061		3784		3608		3441		3293		3158		3012		2848		2716		2586		2428		2297		2162		2036		1905		1791		1715		1650

		230		21.038		3772		3617		3444		3293		3148		3008		2859		2717		2567		2434		2288		2159		2030		1909		1794		1709		1644

		231		21.014		3787		3605		3455		3301		3146		3000		2859		2712		2568		2441		2298		2161		2034		1905		1798		1707		1651

		232		20.99		3778		3607		3449		3298		3153		3005		2867		2709		2575		2444		2300		2162		2029		1907		1799		1703		1642

		233		20.966		3793		3622		3452		3302		3142		3011		2860		2724		2571		2443		2307		2157		2029		1903		1793		1708		1645

		234		20.943		3794		3611		3444		3288		3152		2999		2862		2723		2580		2445		2294		2168		2026		1909		1794		1698		1645

		235		20.919		3786		3611		3445		3302		3146		3005		2855		2711		2578		2432		2293		2169		2018		1910		1792		1709		1648

		236		20.895		3802		3613		3454		3297		3150		3016		2874		2728		2582		2448		2306		2161		2024		1907		1804		1708		1640

		237		20.871		3785		3614		3435		3296		3145		3001		2867		2717		2570		2436		2296		2159		2024		1904		1797		1711		1647

		238		20.848		3794		3609		3452		3302		3156		2999		2854		2718		2585		2439		2294		2161		2037		1903		1791		1707		1631

		239		20.824		3793		3613		3448		3297		3146		3000		2860		2716		2570		2439		2306		2154		2021		1906		1808		1710		1640

		240		20.8		3792		3613		3454		3293		3154		3002		2865		2722		2580		2435		2302		2168		2033		1920		1794		1716		1645

		241		20.776		3790		3613		3454		3311		3154		3008		2862		2716		2578		2433		2302		2159		2021		1904		1803		1697		1641

		242		20.753		3793		3624		3454		3298		3157		3007		2866		2723		2575		2443		2306		2166		2025		1909		1797		1707		1642

		243		20.729		3793		3619		3452		3306		3149		3012		2858		2718		2583		2434		2299		2169		2027		1915		1805		1712		1646

		244		20.705		3789		3614		3450		3293		3151		3010		2862		2712		2573		2449		2310		2161		2027		1914		1799		1713		1642

		245		20.681		3795		3608		3455		3298		3159		3007		2860		2722		2575		2445		2306		2161		2020		1910		1806		1705		1656

		246		20.658		3795		3620		3451		3301		3150		3005		2861		2719		2566		2440		2298		2169		2032		1899		1796		1704		1645

		247		20.634		3790		3620		3445		3308		3148		3006		2862		2722		2581		2442		2303		2169		2036		1916		1812		1737		1672

		248		20.61		3797		3621		3454		3301		3158		3009		2860		2718		2577		2440		2297		2169		2028		1910		1808		1709		1648

		249		20.586		3802		3616		3455		3307		3152		3011		2853		2721		2582		2440		2302		2159		2027		1901		1797		1710		1645

		250		20.563		3797		3611		3444		3301		3143		3007		2858		2711		2586		2431		2308		2160		2037		1902		1794		1705		1640

		251		20.539		3795		3631		3450		3300		3152		3006		2859		2721		2580		2434		2300		2163		2031		1917		1792		1699		1645

		252		20.515		3804		3619		3454		3304		3158		3005		2862		2715		2578		2433		2309		2166		2027		1896		1797		1712		1641

		253		20.491		3804		3615		3458		3299		3167		3011		2872		2718		2581		2434		2301		2165		2025		1898		1794		1714		1650

		254		20.468		3803		3616		3454		3302		3157		3001		2861		2722		2582		2438		2304		2153		2030		1909		1801		1707		1643

		255		20.444		3804		3611		3453		3302		3149		3004		2850		2708		2577		2436		2306		2163		2024		1904		1805		1710		1644

		256		20.42		3797		3616		3456		3301		3161		3006		2860		2716		2577		2433		2300		2164		2031		1915		1800		1700		1642

		257		20.396		3803		3611		3444		3303		3148		3005		2857		2715		2584		2432		2302		2165		2029		1900		1800		1717		1646

		258		20.373		3809		3614		3453		3298		3157		2993		2860		2722		2575		2433		2297		2164		2025		1903		1791		1708		1651

		259		20.349		3812		3621		3451		3304		3144		3006		2864		2716		2582		2449		2296		2166		2026		1910		1796		1709		1646

		260		20.325		3808		3618		3456		3304		3151		2999		2861		2724		2582		2437		2288		2163		2030		1909		1802		1701		1649

		261		20.301		3804		3618		3443		3287		3156		2995		2865		2718		2583		2438		2299		2164		2040		1916		1798		1722		1643

		262		20.278		3808		3629		3451		3315		3158		3008		2863		2720		2584		2439		2296		2158		2027		1911		1800		1714		1641

		263		20.254		3807		3620		3456		3310		3156		3011		2860		2716		2575		2432		2296		2161		2030		1907		1804		1707		1643

		264		20.23		3805		3614		3456		3306		3161		3005		2859		2721		2577		2443		2302		2153		2025		1903		1794		1712		1644

		265		20.206		3804		3610		3454		3311		3157		3007		2862		2720		2590		2449		2297		2155		2025		1902		1802		1703		1647

		266		20.183		3808		3622		3450		3300		3151		3004		2857		2722		2586		2441		2299		2164		2032		1911		1796		1711		1655

		267		20.159		3803		3623		3452		3298		3150		3012		2855		2716		2574		2436		2298		2157		2037		1902		1795		1711		1643

		268		20.135		3814		3619		3461		3304		3155		3007		2862		2717		2581		2443		2303		2170		2027		1913		1802		1713		1642

		269		20.111		3813		3620		3452		3304		3149		3004		2863		2719		2580		2439		2303		2160		2027		1902		1803		1703		1641

		270		20.088		3810		3619		3450		3304		3163		3005		2865		2718		2582		2449		2302		2161		2034		1906		1796		1715		1646

		271		20.064		3812		3630		3453		3300		3155		3003		2865		2725		2591		2434		2303		2162		2032		1904		1803		1717		1654

		272		20.04		3810		3613		3454		3304		3145		3008		2855		2722		2576		2438		2304		2153		2027		1905		1803		1706		1645

		273		20.016		3805		3619		3454		3302		3149		3007		2868		2729		2577		2436		2299		2161		2034		1911		1804		1701		1637

		274		19.993		3811		3623		3450		3304		3152		3003		2860		2716		2576		2441		2300		2170		2036		1904		1801		1709		1650

		275		19.969		3814		3621		3463		3305		3153		3004		2860		2725		2576		2433		2307		2163		2037		1909		1799		1713		1642

		276		19.945		3806		3617		3458		3306		3154		3005		2856		2722		2576		2432		2296		2161		2022		1905		1802		1710		1646

		277		19.921		3803		3626		3454		3306		3146		3005		2858		2721		2578		2438		2299		2158		2026		1900		1805		1706		1653

		278		19.898		3802		3617		3455		3299		3155		3005		2865		2714		2583		2440		2299		2159		2023		1908		1793		1702		1639

		279		19.874		3813		3623		3447		3309		3154		3009		2859		2712		2580		2439		2301		2173		2028		1912		1800		1710		1648

		280		19.85		3815		3621		3462		3300		3159		3007		2867		2723		2584		2446		2295		2154		2033		1910		1799		1713		1661

		281		19.826		3808		3620		3458		3304		3153		3006		2856		2719		2574		2435		2298		2161		2031		1903		1795		1713		1649

		282		19.803		3809		3628		3454		3304		3148		3007		2856		2726		2576		2440		2303		2165		2028		1909		1801		1714		1642

		283		19.779		3808		3619		3459		3316		3151		3003		2867		2711		2585		2438		2293		2176		2028		1906		1795		1719		1652

		284		19.755		3809		3622		3459		3305		3161		3004		2851		2714		2581		2447		2296		2160		2034		1912		1796		1710		1653

		285		19.731		3803		3621		3454		3300		3150		3011		2855		2721		2585		2449		2309		2163		2027		1915		1796		1714		1655

		286		19.708		3807		3620		3457		3311		3144		3005		2872		2716		2577		2439		2292		2164		2020		1912		1807		1707		1646

		287		19.684		3803		3614		3453		3303		3148		3005		2857		2715		2577		2447		2305		2161		2031		1908		1797		1708		1649

		288		19.66		3810		3620		3455		3299		3155		3000		2860		2722		2571		2438		2304		2166		2035		1908		1796		1710		1652

		289		19.636		3811		3624		3453		3299		3160		3005		2865		2712		2586		2446		2291		2164		2031		1909		1800		1713		1652

		290		19.613		3805		3619		3448		3301		3157		3004		2862		2719		2578		2441		2299		2169		2028		1907		1801		1708		1654

		291		19.589		3806		3620		3458		3303		3147		3002		2862		2723		2580		2437		2299		2163		2034		1912		1797		1716		1647

		292		19.565		3802		3619		3447		3301		3153		3004		2859		2715		2587		2435		2297		2165		2031		1909		1796		1706		1651

		293		19.541		3794		3627		3453		3305		3153		3005		2859		2719		2582		2441		2304		2164		2036		1917		1804		1724		1657

		294		19.518		3811		3615		3459		3306		3155		3003		2864		2719		2578		2440		2304		2165		2023		1916		1797		1717		1639

		295		19.494		3800		3620		3448		3300		3155		3012		2860		2720		2584		2441		2290		2160		2020		1899		1810		1715		1652

		296		19.47		3802		3619		3456		3310		3146		3012		2862		2723		2578		2440		2294		2169		2041		1915		1800		1702		1639

		297		19.446		3798		3617		3457		3305		3160		3001		2862		2720		2579		2440		2293		2161		2031		1909		1802		1717		1648

		298		19.423		3803		3621		3454		3302		3155		3005		2858		2724		2580		2442		2294		2164		2038		1907		1804		1716		1656

		299		19.399		3807		3619		3453		3306		3153		3003		2870		2719		2581		2437		2301		2159		2034		1909		1803		1709		1653

		300		19.375		3805		3614		3461		3299		3164		3012		2863		2726		2584		2443		2304		2167		2032		1909		1804		1710		1654

		301		19.351		3804		3611		3455		3301		3161		3009		2854		2729		2570		2442		2295		2164		2028		1914		1798		1718		1650

		302		19.328		3805		3618		3451		3309		3158		3007		2864		2723		2582		2441		2297		2167		2032		1914		1802		1717		1649

		303		19.304		3796		3621		3450		3307		3147		3004		2855		2722		2582		2442		2300		2159		2026		1907		1797		1709		1651

		304		19.28		3795		3614		3448		3291		3151		3001		2861		2721		2581		2442		2304		2177		2036		1910		1801		1717		1648

		305		19.256		3797		3611		3456		3299		3148		3002		2856		2720		2573		2445		2299		2166		2025		1912		1802		1709		1649

		306		19.233		3793		3618		3458		3297		3154		3007		2855		2715		2576		2443		2301		2161		2039		1911		1798		1707		1656

		307		19.209		3808		3617		3455		3295		3154		3009		2867		2726		2577		2440		2306		2172		2024		1909		1800		1722		1670

		308		19.185		3796		3613		3454		3300		3155		3006		2868		2718		2583		2446		2305		2163		2034		1911		1802		1713		1655

		309		19.161		3792		3607		3448		3303		3148		2998		2861		2727		2575		2436		2301		2163		2026		1913		1803		1718		1656

		310		19.138		3795		3611		3453		3300		3154		3009		2867		2721		2589		2444		2306		2162		2035		1912		1804		1712		1652

		311		19.114		3795		3611		3451		3305		3153		3007		2870		2722		2581		2440		2307		2158		2032		1906		1807		1727		1657

		312		19.09		3791		3608		3456		3297		3160		3005		2865		2716		2587		2444		2308		2166		2033		1915		1798		1710		1640

		313		19.066		3799		3622		3438		3302		3149		3014		2859		2719		2580		2443		2298		2164		2032		1911		1805		1717		1652

		314		19.043		3792		3614		3447		3298		3151		3001		2875		2717		2587		2444		2307		2162		2035		1909		1804		1716		1650

		315		19.019		3797		3616		3454		3303		3155		2997		2859		2723		2575		2441		2308		2158		2032		1914		1798		1725		1663

		316		18.995		3788		3610		3449		3309		3148		3007		2868		2725		2580		2436		2307		2163		2029		1915		1802		1712		1664

		317		18.971		3799		3619		3451		3310		3146		3007		2874		2720		2589		2444		2304		2171		2039		1917		1807		1713		1655

		318		18.948		3796		3610		3464		3294		3161		3011		2865		2725		2583		2444		2307		2160		2038		1912		1802		1716		1656

		319		18.924		3789		3603		3449		3303		3154		3014		2861		2718		2587		2439		2304		2165		2042		1911		1810		1718		1653

		320		18.9		3792		3615		3445		3310		3149		2999		2857		2722		2581		2433		2303		2163		2035		1912		1804		1715		1659

		321		18.876		3794		3606		3451		3308		3160		3016		2861		2722		2575		2442		2310		2162		2037		1913		1802		1718		1650

		322		18.853		3793		3600		3452		3307		3152		3003		2865		2722		2581		2452		2305		2167		2039		1916		1803		1724		1662

		323		18.829		3782		3607		3448		3297		3158		3010		2864		2720		2573		2435		2308		2170		2037		1909		1800		1709		1653

		324		18.805		3784		3607		3458		3306		3156		3001		2866		2728		2584		2439		2309		2170		2023		1908		1800		1731		1660

		325		18.781		3780		3609		3453		3306		3155		3016		2863		2727		2585		2447		2297		2159		2032		1911		1800		1719		1649

		326		18.758		3786		3604		3445		3304		3150		2998		2859		2726		2585		2443		2301		2166		2030		1914		1803		1716		1649

		327		18.734		3778		3604		3448		3308		3153		3005		2858		2727		2584		2442		2309		2162		2035		1908		1796		1713		1648

		328		18.71		3786		3605		3452		3302		3150		2998		2865		2719		2595		2443		2308		2158		2032		1912		1804		1716		1646

		329		18.686		3772		3613		3447		3301		3148		3009		2866		2720		2574		2439		2307		2166		2034		1902		1800		1714		1657

		330		18.663		3778		3617		3443		3299		3160		3012		2863		2730		2586		2453		2296		2174		2033		1913		1801		1709		1651

		331		18.639		3782		3611		3452		3307		3156		3013		2862		2715		2585		2451		2306		2167		2039		1909		1807		1710		1655

		332		18.615		3780		3601		3449		3299		3158		3006		2861		2725		2582		2446		2306		2171		2030		1917		1799		1714		1652

		333		18.591		3778		3603		3456		3300		3156		3009		2867		2726		2581		2448		2306		2163		2032		1907		1798		1714		1661

		334		18.568		3784		3612		3450		3297		3153		3012		2866		2721		2579		2446		2309		2170		2025		1908		1806		1719		1652

		335		18.544		3775		3610		3453		3304		3158		3008		2860		2723		2593		2453		2298		2170		2036		1920		1803		1719		1652

		336		18.52		3769		3600		3450		3304		3145		3010		2865		2715		2582		2442		2300		2170		2040		1909		1802		1707		1644

		337		18.496		3768		3600		3449		3311		3162		3021		2871		2719		2590		2443		2306		2173		2038		1917		1811		1725		1654

		338		18.473		3773		3600		3442		3304		3149		3010		2863		2725		2579		2440		2306		2164		2034		1907		1806		1713		1652

		339		18.449		3780		3598		3453		3299		3160		3010		2861		2728		2587		2448		2303		2170		2042		1918		1814		1735		1676

		340		18.425		3767		3599		3446		3310		3153		3014		2861		2723		2587		2437		2309		2170		2040		1920		1823		1733		1671

		341		18.401		3777		3609		3441		3303		3153		3009		2860		2727		2585		2451		2299		2161		2037		1911		1804		1721		1651

		342		18.378		3766		3603		3450		3302		3162		3007		2860		2722		2593		2452		2299		2172		2035		1916		1802		1721		1658

		343		18.354		3770		3602		3457		3297		3155		3011		2864		2730		2592		2443		2303		2170		2040		1919		1806		1712		1659

		344		18.33		3756		3604		3451		3297		3155		3010		2867		2729		2581		2442		2309		2169		2033		1922		1808		1717		1656

		345		18.306		3772		3601		3451		3294		3163		3009		2860		2728		2584		2447		2308		2169		2033		1909		1798		1713		1639

		346		18.283		3769		3603		3447		3303		3155		3019		2868		2733		2592		2451		2312		2170		2036		1911		1807		1724		1647

		347		18.259		3771		3597		3449		3311		3157		3008		2865		2732		2584		2439		2308		2171		2037		1919		1803		1721		1658

		348		18.235		3769		3590		3444		3300		3160		3017		2863		2733		2588		2451		2304		2174		2038		1921		1807		1720		1658

		349		18.211		3768		3610		3445		3290		3157		3017		2865		2725		2582		2450		2309		2175		2039		1919		1817		1724		1654

		350		18.188		3755		3596		3452		3302		3153		3010		2865		2724		2590		2453		2300		2170		2038		1912		1802		1718		1650

		351		18.164		3767		3593		3445		3308		3158		3010		2862		2730		2584		2446		2308		2176		2038		1913		1799		1724		1653

		352		18.14		3758		3599		3445		3309		3162		3013		2868		2727		2587		2445		2298		2161		2029		1914		1812		1723		1653

		353		18.116		3768		3598		3442		3315		3155		3013		2863		2722		2580		2444		2305		2168		2037		1918		1804		1719		1648

		354		18.093		3755		3588		3449		3303		3153		3008		2861		2730		2583		2453		2305		2169		2030		1918		1800		1713		1653

		355		18.069		3764		3601		3448		3303		3147		3013		2871		2728		2587		2448		2315		2173		2041		1908		1806		1709		1650

		356		18.045		3750		3598		3440		3300		3157		3007		2866		2722		2592		2440		2302		2173		2032		1916		1805		1727		1650

		357		18.021		3761		3597		3447		3305		3159		3015		2867		2724		2584		2452		2305		2176		2041		1923		1808		1720		1662

		358		17.998		3762		3603		3443		3310		3158		3007		2862		2722		2587		2448		2303		2165		2043		1916		1806		1724		1656

		359		17.974		3761		3600		3451		3308		3160		3010		2861		2727		2585		2456		2307		2171		2033		1918		1804		1717		1652

		360		17.95		3755		3601		3445		3298		3157		3017		2870		2730		2581		2448		2303		2165		2042		1921		1808		1718		1664

		361		17.926		3747		3593		3441		3306		3163		3015		2871		2738		2588		2444		2318		2170		2042		1911		1806		1720		1651

		362		17.903		3758		3602		3453		3303		3159		3011		2873		2734		2586		2456		2314		2172		2036		1929		1813		1732		1664

		363		17.879		3759		3601		3449		3313		3150		3009		2871		2730		2581		2448		2311		2175		2036		1920		1812		1733		1643

		364		17.855		3763		3596		3443		3302		3163		3018		2874		2729		2587		2443		2315		2174		2041		1921		1797		1721		1657

		365		17.831		3750		3600		3455		3306		3157		3009		2872		2725		2591		2451		2304		2184		2042		1922		1811		1730		1655

		366		17.808		3749		3597		3451		3309		3153		3011		2876		2724		2591		2448		2305		2169		2039		1912		1818		1725		1661

		367		17.784		3755		3595		3458		3299		3153		3006		2873		2733		2586		2456		2311		2168		2043		1915		1812		1726		1654

		368		17.76		3748		3594		3446		3303		3154		3020		2864		2729		2588		2450		2304		2166		2043		1916		1799		1721		1657

		369		17.736		3752		3596		3443		3302		3154		3014		2875		2732		2585		2451		2312		2178		2044		1912		1808		1714		1647

		370		17.713		3753		3588		3443		3307		3161		3003		2865		2729		2590		2453		2313		2181		2039		1920		1812		1723		1663

		371		17.689		3747		3598		3445		3300		3158		3019		2866		2731		2584		2450		2309		2162		2028		1915		1815		1725		1661

		372		17.665		3763		3594		3448		3307		3159		3014		2872		2725		2588		2446		2312		2176		2046		1916		1816		1729		1653

		373		17.641		3746		3609		3447		3305		3164		3011		2881		2733		2586		2451		2318		2177		2039		1921		1805		1715		1656

		374		17.618		3748		3603		3457		3302		3167		3016		2873		2732		2580		2447		2315		2176		2030		1913		1808		1725		1668

		375		17.594		3740		3591		3442		3300		3162		3017		2862		2728		2596		2443		2314		2176		2047		1920		1808		1726		1662

		376		17.57		3750		3599		3441		3297		3150		3010		2873		2724		2597		2450		2303		2169		2044		1916		1808		1728		1656

		377		17.546		3748		3594		3448		3308		3154		3023		2870		2734		2582		2448		2315		2161		2043		1912		1812		1718		1664

		378		17.523		3761		3591		3452		3311		3161		3014		2877		2738		2588		2453		2307		2184		2043		1914		1810		1725		1661

		379		17.499		3738		3601		3449		3304		3151		3011		2875		2727		2585		2454		2309		2171		2047		1921		1810		1722		1652

		380		17.475		3751		3602		3453		3300		3161		3018		2871		2739		2589		2451		2314		2172		2045		1923		1807		1724		1668

		381		17.451		3748		3604		3458		3301		3158		3018		2865		2734		2602		2451		2312		2172		2046		1916		1812		1724		1666

		382		17.428		3752		3603		3447		3306		3153		3018		2867		2726		2583		2438		2303		2170		2043		1920		1810		1733		1663

		383		17.404		3745		3593		3441		3310		3160		3007		2864		2725		2591		2454		2304		2173		2041		1923		1812		1722		1660

		384		17.38		3756		3603		3446		3306		3155		3016		2869		2730		2592		2451		2315		2176		2047		1923		1812		1717		1657

		385		17.356		3744		3601		3447		3306		3159		3013		2871		2735		2588		2450		2311		2168		2035		1921		1814		1717		1658

		386		17.333		3740		3598		3452		3308		3157		3018		2872		2725		2596		2447		2316		2170		2043		1914		1806		1725		1653

		387		17.309		3746		3597		3439		3298		3152		3014		2873		2729		2592		2446		2312		2175		2050		1914		1807		1718		1666

		388		17.285		3749		3585		3444		3303		3165		3018		2864		2732		2593		2453		2315		2175		2034		1919		1813		1721		1664

		389		17.261		3751		3590		3448		3300		3156		3020		2873		2724		2595		2442		2303		2170		2037		1910		1817		1725		1666

		390		17.238		3745		3600		3448		3307		3150		3007		2879		2731		2592		2451		2309		2165		2039		1916		1812		1725		1656

		391		17.214		3733		3597		3447		3302		3160		3013		2870		2723		2586		2441		2312		2173		2037		1919		1815		1716		1663

		392		17.19		3749		3605		3441		3305		3167		3010		2863		2726		2592		2443		2313		2169		2039		1917		1807		1726		1656

		393		17.166		3753		3596		3446		3299		3148		3021		2870		2730		2590		2447		2304		2166		2032		1923		1807		1714		1659

		394		17.143		3738		3587		3444		3298		3151		3001		2868		2727		2593		2442		2308		2170		2043		1916		1811		1736		1664

		395		17.119		3744		3592		3453		3310		3151		3012		2866		2717		2582		2446		2303		2160		2039		1918		1813		1720		1660

		396		17.095		3741		3592		3441		3302		3150		3019		2866		2732		2589		2449		2303		2166		2043		1921		1808		1721		1665

		397		17.071		3738		3585		3436		3297		3154		3004		2867		2720		2586		2444		2312		2167		2033		1928		1816		1727		1664

		398		17.048		3747		3596		3437		3302		3152		3017		2857		2722		2580		2447		2307		2163		2036		1919		1812		1724		1670

		399		17.024		3735		3596		3439		3301		3150		3004		2857		2717		2585		2457		2309		2170		2042		1927		1807		1720		1661

		400		17		3913		3756		3605		3461		3307		3157		3011		2854		2707		2556		2415		2263		2136		2012		1895		1807		1747



Color Bar Corresponds to RSS Color Offset = 0, Color Gain = 1

ADC Voltage Reference = 4.096 V     Receiver Noise Figure = 6 dB

Color Bar Corresponds to RSS Color Offset = 0, Color Gain = 1

Color Bar Corresponds to RSS Color Offset = 1600, Color Gain = 1.80
Adjusted Output Value = (Raw ADC Output Value - Color Offset) * Color Gain

SOLAR

Heliotown FSX-4 (12-bit) Spectrograph Step Calibration – 02-Oct-2013

Adjusted Output Value & Color vs Antenna Temperature for 1.3 dB Feed Loss

Color Bar Corresponds to RSS Color Offset = 1600, Color Gain = 1.80

Adjusted Output Value = (Raw ADC Output Value - Color Offset) * Color Gain

JUPITER

Adjusted Output Value & Color vs Antenna Temperature for 1.3 dB Feed Loss

Color Bar Corresponds to RSS Color Offset = 0, Color Gain = 1.00
Adjusted Output Value = (Raw ADC Output Value - Color Offset) * Color Gain

CUSTOM 1

Adjusted Output Value & Color vs Antenna Temperature for 1.3 dB Feed Loss

Color Bar Corresponds to RSS Color Offset = 0, Color Gain = 1.00
Adjusted Output Value = (Raw ADC Output Value - Color Offset) * Color Gain

CUSTOM 2



		

				ADC Resolution:		12		bits

				ADC Reference:		4.096		Volts

				Actual Step Size (dB):				3.0		3.0		3.0		2.8		2.9		3.0		3.3		3.0		2.9		2.7		2.9		3.0		3.1		3.5		2.9		3.0

				Average Attenuation (dB):				1.6		4.6		7.6		10.5		13.35		16.3		19.45		22.6		25.55		28.35		31.15		34.1		37.15		40.45		43.65		46.6

				Average Temperature at Cal Plane (kK):				51748.96		25935.92		12998.75		6666.56		3458.61		1753.48		848.99		411.06		208.4		109.37		57.4		29.1		14.42		6.74		3.23		1.64

				Average Response Over One Step, mV/dB:				55.67		51.67		49		52.5		50.34		48.33		42.73		46.67		48.28		51.48		47.59		44.33		39.68		31.43		31.03		22

				Series Labels:		73,100 kK		36,600 kK		18,400 kK		9,200 kK		4,830 kK		2,480 kK		1,240 kK		582 kK		292 kK		150 kK		81 kK		42 kK		22 kK		11 kK		5.7 kK		3.5 kK		2.3 kK

				Attenuator setting (dB):		0.1		3.1		6.1		9.1		11.9		14.8		17.8		21.1		24.1		27		29.7		32.6		35.6		38.7		42.2		45.1		48.1

				Temp Obs @ Spectrograph Input (kK):		73098.22		36636.47		18362.31		9203.53		4830.63		2478.01		1242.52		581.79		292.16		150.4		81.3		42.26		21.76		11.24		5.66		3.47		2.31

				Equiv Ant Temp @ feedpoints (kK):		98605.51		49419.97		24768.8		12413.95		6515.07		3341.47		1674.85		783.54		392.84		201.62		108.41		55.74		28.08		13.9		6.37		3.41		1.85

		Channel		f_c (MHz)		mV		mV		mV		mV		mV		mV		mV		mV		mV		mV		mV		mV		mV		mV		mV		mV		mV

		3 thru 398 Mean:				3767		3600		3445		3298		3151		3005		2860		2719		2579		2439		2300		2162		2029		1906		1796		1706		1640

		1		26.476		3732		3576		3429		3284		3134		2982		2851		2710		2564		2416		2287		2149		2019		1899		1784		1695		1627

		2		26.453		3741		3577		3422		3294		3142		2988		2847		2699		2561		2417		2285		2150		2018		1885		1767		1686		1607

		3		26.429		3736		3568		3422		3277		3137		2987		2845		2709		2565		2420		2284		2145		2004		1884		1775		1680		1605

		4		26.405		3733		3569		3427		3294		3133		2990		2848		2699		2559		2419		2289		2136		2014		1887		1769		1679		1614

		5		26.381		3742		3587		3427		3277		3142		2988		2846		2701		2561		2430		2283		2140		2009		1879		1768		1679		1600

		6		26.358		3743		3580		3437		3277		3142		2994		2850		2701		2561		2422		2284		2144		2010		1904		1800		1707		1657

		7		26.334		3747		3585		3427		3286		3141		2991		2846		2709		2563		2417		2287		2148		2012		1887		1778		1698		1623

		8		26.31		3744		3578		3419		3295		3136		2993		2845		2700		2563		2428		2284		2145		2014		1890		1769		1667		1605

		9		26.286		3744		3582		3435		3280		3132		2987		2850		2699		2559		2426		2287		2150		2014		1895		1777		1681		1610

		10		26.263		3742		3584		3424		3292		3139		2998		2848		2714		2562		2425		2285		2148		2010		1886		1779		1687		1612

		11		26.239		3749		3575		3426		3281		3133		2988		2850		2698		2570		2419		2287		2143		2008		1885		1770		1688		1615

		12		26.215		3759		3584		3439		3287		3137		2998		2848		2703		2560		2420		2282		2147		2011		1883		1775		1685		1607

		13		26.191		3750		3591		3432		3282		3129		2989		2848		2705		2571		2428		2284		2145		2007		1886		1773		1679		1599

		14		26.168		3753		3591		3433		3282		3138		2992		2850		2709		2564		2420		2289		2145		2020		1886		1774		1679		1601

		15		26.144		3759		3591		3437		3294		3140		2988		2844		2703		2566		2423		2281		2150		2024		1897		1783		1704		1638

		16		26.12		3745		3592		3443		3276		3134		2995		2853		2700		2558		2425		2290		2155		2027		1888		1769		1683		1616

		17		26.096		3769		3593		3432		3285		3135		2999		2850		2704		2563		2426		2285		2144		2009		1893		1764		1674		1601

		18		26.073		3761		3593		3427		3295		3144		2996		2852		2702		2564		2429		2293		2153		2021		1877		1780		1681		1614

		19		26.049		3756		3587		3427		3293		3128		2996		2844		2706		2569		2431		2287		2151		2011		1882		1771		1686		1606

		20		26.025		3755		3595		3426		3278		3148		2993		2843		2705		2558		2429		2285		2151		2015		1894		1777		1683		1607

		21		26.001		3765		3583		3440		3286		3144		2995		2848		2709		2559		2427		2292		2149		2004		1892		1775		1679		1611

		22		25.978		3764		3591		3437		3290		3141		2996		2847		2706		2571		2426		2287		2149		2011		1881		1774		1682		1610

		23		25.954		3763		3589		3432		3287		3139		2983		2847		2708		2565		2427		2301		2150		2015		1888		1781		1684		1607

		24		25.93		3764		3599		3445		3293		3134		2997		2856		2703		2572		2435		2285		2151		2009		1888		1780		1671		1607

		25		25.906		3764		3599		3437		3287		3143		2995		2850		2709		2577		2431		2285		2151		2017		1896		1785		1681		1611

		26		25.883		3767		3601		3429		3285		3144		2986		2847		2708		2566		2437		2291		2155		2016		1899		1778		1685		1618

		27		25.859		3772		3594		3437		3285		3140		2996		2851		2704		2571		2422		2289		2151		2014		1893		1767		1683		1607

		28		25.835		3771		3597		3439		3288		3138		3000		2853		2700		2561		2431		2291		2150		2022		1897		1785		1687		1620

		29		25.811		3776		3598		3436		3297		3151		2994		2853		2705		2557		2422		2290		2142		2019		1887		1772		1680		1606

		30		25.788		3779		3600		3441		3291		3144		2990		2852		2708		2567		2433		2293		2149		2015		1891		1775		1674		1618

		31		25.764		3773		3599		3446		3289		3142		3000		2856		2710		2567		2424		2292		2149		2009		1893		1783		1690		1624

		32		25.74		3768		3600		3440		3289		3142		3004		2857		2712		2571		2427		2289		2157		2012		1893		1774		1683		1610

		33		25.716		3785		3604		3442		3297		3146		2997		2859		2711		2573		2432		2291		2158		2016		1896		1782		1705		1626

		34		25.693		3774		3600		3439		3291		3142		2997		2845		2712		2564		2423		2292		2161		2019		1895		1781		1691		1638

		35		25.669		3784		3603		3438		3295		3145		2995		2852		2708		2579		2426		2283		2156		2017		1895		1779		1692		1612

		36		25.645		3774		3616		3441		3284		3149		3004		2857		2714		2569		2431		2296		2161		2027		1887		1786		1697		1619

		37		25.621		3777		3596		3443		3298		3147		3001		2849		2711		2568		2429		2292		2155		2022		1895		1789		1701		1636

		38		25.598		3777		3600		3438		3288		3138		2999		2853		2711		2568		2433		2289		2146		2009		1892		1776		1684		1619

		39		25.574		3778		3604		3445		3292		3146		3008		2854		2714		2565		2433		2296		2144		2019		1901		1779		1683		1620

		40		25.55		3785		3601		3445		3291		3156		2996		2851		2719		2577		2436		2291		2145		2005		1889		1787		1677		1611

		41		25.526		3791		3603		3442		3287		3144		2999		2854		2715		2576		2434		2293		2150		2016		1894		1772		1683		1613

		42		25.503		3788		3605		3445		3296		3149		2996		2851		2720		2566		2421		2286		2157		2022		1896		1784		1680		1634

		43		25.479		3772		3598		3444		3294		3138		3001		2857		2708		2573		2429		2286		2162		2023		1890		1775		1678		1620

		44		25.455		3776		3612		3449		3292		3148		2999		2856		2708		2573		2429		2303		2159		2022		1896		1788		1689		1617

		45		25.431		3787		3604		3441		3298		3162		3002		2857		2720		2581		2433		2289		2156		2024		1891		1791		1694		1624

		46		25.408		3785		3605		3437		3294		3142		2994		2858		2713		2576		2430		2294		2160		2017		1893		1787		1682		1617

		47		25.384		3775		3605		3443		3300		3153		2998		2854		2714		2570		2433		2297		2155		2018		1900		1771		1690		1610

		48		25.36		3783		3608		3442		3297		3143		3011		2852		2714		2570		2438		2289		2157		2015		1890		1785		1693		1611

		49		25.336		3774		3608		3433		3298		3147		2995		2855		2712		2581		2435		2289		2156		2018		1894		1783		1690		1610

		50		25.313		3780		3598		3442		3298		3146		3000		2849		2712		2578		2436		2293		2154		2016		1897		1786		1680		1616

		51		25.289		3787		3606		3439		3293		3151		2995		2855		2720		2571		2433		2295		2162		2018		1892		1786		1686		1621

		52		25.265		3784		3602		3445		3296		3141		2998		2859		2717		2575		2437		2290		2157		2028		1897		1780		1688		1621

		53		25.241		3781		3607		3442		3289		3151		3000		2846		2721		2579		2433		2295		2160		2029		1903		1784		1695		1621

		54		25.218		3781		3604		3444		3295		3147		3002		2847		2719		2577		2431		2297		2161		2013		1896		1780		1688		1629

		55		25.194		3782		3604		3458		3287		3137		2995		2849		2711		2577		2428		2289		2158		2016		1891		1778		1686		1613

		56		25.17		3788		3598		3438		3298		3150		3005		2853		2716		2574		2438		2298		2154		2019		1893		1786		1688		1614

		57		25.146		3783		3604		3449		3298		3152		3011		2866		2712		2567		2428		2294		2156		2015		1889		1783		1687		1606

		58		25.123		3781		3604		3452		3298		3153		3004		2856		2710		2568		2433		2295		2153		2013		1895		1780		1688		1607

		59		25.099		3777		3612		3443		3295		3152		2996		2849		2717		2569		2439		2304		2162		2028		1894		1790		1680		1621

		60		25.075		3784		3608		3449		3297		3144		3002		2856		2713		2577		2431		2290		2147		2021		1888		1786		1686		1619

		61		25.051		3781		3603		3443		3295		3147		3001		2848		2718		2580		2429		2299		2152		2021		1894		1782		1699		1617

		62		25.028		3779		3608		3441		3292		3153		3002		2858		2713		2569		2432		2288		2166		2027		1892		1784		1691		1619

		63		25.004		3781		3602		3451		3291		3151		3002		2854		2711		2583		2435		2295		2155		2022		1897		1785		1692		1626

		64		24.98		3781		3603		3444		3292		3139		3004		2846		2710		2575		2433		2292		2158		2018		1901		1784		1690		1621

		65		24.956		3783		3613		3441		3300		3151		3001		2858		2710		2565		2431		2300		2149		2021		1896		1787		1690		1623

		66		24.933		3782		3604		3449		3306		3156		3003		2858		2707		2576		2441		2297		2162		2021		1902		1788		1693		1622

		67		24.909		3780		3612		3454		3295		3155		3001		2867		2721		2581		2438		2290		2154		2027		1896		1784		1701		1614

		68		24.885		3778		3589		3439		3290		3142		3001		2848		2723		2574		2429		2300		2157		2022		1899		1783		1691		1629

		69		24.861		3781		3602		3441		3303		3157		3005		2857		2724		2573		2443		2299		2159		2020		1898		1795		1706		1632

		70		24.838		3777		3604		3446		3299		3155		3000		2854		2717		2575		2434		2294		2152		2028		1899		1784		1700		1621

		71		24.814		3781		3601		3449		3306		3152		3000		2854		2711		2577		2427		2298		2156		2020		1897		1787		1692		1633

		72		24.79		3778		3601		3445		3306		3151		3009		2866		2722		2577		2441		2298		2161		2028		1908		1801		1706		1656

		73		24.766		3774		3609		3443		3294		3141		3003		2858		2717		2576		2435		2296		2160		2023		1895		1790		1697		1631

		74		24.743		3782		3597		3452		3302		3151		3011		2854		2721		2577		2432		2303		2163		2018		1907		1797		1699		1635

		75		24.719		3781		3599		3445		3295		3152		3008		2868		2722		2582		2432		2299		2152		2020		1894		1789		1703		1627

		76		24.695		3777		3603		3446		3298		3150		2999		2864		2723		2571		2434		2299		2158		2032		1902		1789		1694		1618

		77		24.671		3765		3600		3444		3307		3153		3011		2855		2720		2582		2443		2288		2164		2026		1910		1797		1702		1646

		78		24.648		3771		3600		3448		3296		3157		2996		2852		2722		2575		2433		2295		2171		2031		1906		1809		1730		1673

		79		24.624		3783		3600		3442		3295		3149		3005		2862		2715		2578		2435		2297		2160		2031		1912		1799		1713		1647

		80		24.6		3774		3607		3442		3296		3149		3008		2858		2719		2580		2441		2299		2165		2028		1905		1803		1700		1652

		81		24.576		3770		3607		3446		3302		3160		3009		2862		2728		2588		2444		2296		2164		2025		1907		1786		1694		1623

		82		24.553		3771		3605		3441		3291		3143		3002		2862		2714		2580		2435		2296		2160		2031		1909		1789		1715		1646

		83		24.529		3764		3592		3442		3300		3146		3006		2863		2724		2576		2430		2298		2159		2035		1902		1792		1698		1621

		84		24.505		3768		3607		3453		3306		3146		3008		2856		2716		2580		2428		2292		2158		2020		1904		1787		1690		1621

		85		24.481		3768		3603		3454		3295		3146		3001		2852		2720		2576		2442		2292		2160		2021		1905		1791		1695		1637

		86		24.458		3774		3610		3448		3302		3149		3013		2867		2713		2579		2444		2298		2157		2027		1897		1789		1695		1624

		87		24.434		3768		3603		3446		3295		3148		3002		2859		2720		2587		2444		2301		2161		2025		1903		1799		1706		1635

		88		24.41		3768		3603		3444		3294		3146		2999		2858		2715		2579		2434		2302		2163		2027		1911		1799		1704		1642

		89		24.386		3767		3608		3449		3302		3149		3004		2862		2727		2577		2434		2299		2161		2024		1904		1784		1691		1629

		90		24.363		3770		3606		3459		3301		3152		3005		2853		2717		2585		2444		2300		2156		2028		1909		1784		1701		1628

		91		24.339		3769		3595		3448		3299		3152		2993		2855		2718		2574		2434		2294		2160		2027		1904		1787		1698		1631

		92		24.315		3770		3603		3447		3311		3152		3005		2872		2719		2577		2434		2296		2168		2024		1907		1792		1696		1629

		93		24.291		3758		3599		3444		3298		3151		3005		2864		2719		2578		2437		2297		2165		2024		1905		1787		1701		1633

		94		24.268		3762		3601		3444		3298		3149		2998		2858		2710		2573		2442		2295		2157		2020		1901		1788		1687		1637

		95		24.244		3765		3597		3441		3299		3154		3012		2857		2723		2572		2436		2304		2161		2022		1903		1792		1701		1638

		96		24.22		3755		3600		3438		3300		3151		3006		2853		2708		2580		2439		2293		2164		2030		1901		1789		1694		1629

		97		24.196		3756		3591		3448		3297		3150		2997		2860		2721		2583		2449		2307		2164		2024		1898		1791		1700		1628

		98		24.173		3759		3593		3448		3293		3144		3008		2869		2723		2574		2437		2306		2162		2024		1898		1796		1701		1627

		99		24.149		3759		3598		3442		3285		3152		3006		2856		2719		2571		2435		2302		2157		2026		1905		1792		1694		1631

		100		24.125		3753		3598		3437		3292		3152		3004		2858		2718		2582		2439		2299		2166		2030		1905		1786		1697		1629

		101		24.101		3756		3602		3438		3302		3160		3003		2861		2719		2575		2444		2306		2161		2031		1894		1792		1701		1629

		102		24.078		3757		3591		3440		3295		3155		3011		2855		2722		2585		2443		2303		2156		2036		1910		1791		1699		1643

		103		24.054		3756		3592		3443		3292		3149		3002		2859		2713		2569		2444		2308		2165		2027		1906		1791		1712		1622

		104		24.03		3749		3596		3446		3296		3154		3011		2858		2715		2581		2443		2303		2156		2034		1912		1788		1706		1629

		105		24.006		3753		3593		3442		3299		3155		3005		2853		2718		2578		2445		2292		2161		2017		1899		1802		1705		1639

		106		23.983		3752		3601		3441		3292		3155		3008		2861		2726		2576		2439		2294		2157		2033		1902		1800		1690		1631

		107		23.959		3750		3592		3448		3293		3157		3007		2859		2711		2568		2436		2303		2156		2029		1903		1792		1703		1632

		108		23.935		3747		3587		3444		3285		3151		2998		2865		2725		2574		2437		2297		2163		2027		1901		1786		1697		1623

		109		23.911		3762		3587		3445		3298		3150		3000		2868		2716		2576		2441		2315		2161		2024		1902		1795		1699		1631

		110		23.888		3750		3594		3446		3296		3148		3006		2865		2722		2582		2442		2303		2167		2029		1905		1792		1698		1627

		111		23.864		3753		3587		3450		3295		3153		3004		2864		2721		2569		2438		2298		2160		2037		1894		1792		1701		1637

		112		23.84		3745		3596		3438		3288		3150		3014		2867		2720		2581		2449		2292		2162		2025		1897		1789		1696		1626

		113		23.816		3743		3592		3444		3295		3152		3011		2858		2717		2582		2442		2298		2150		2023		1903		1790		1696		1637

		114		23.793		3743		3598		3434		3297		3155		3014		2858		2707		2573		2439		2298		2160		2021		1904		1798		1707		1630

		115		23.769		3742		3595		3439		3296		3148		3013		2863		2720		2578		2444		2303		2150		2021		1911		1800		1703		1630

		116		23.745		3743		3583		3436		3296		3152		2996		2862		2725		2583		2445		2295		2166		2033		1909		1790		1702		1630

		117		23.721		3737		3585		3447		3301		3147		3008		2852		2721		2576		2438		2305		2158		2018		1904		1795		1703		1628

		118		23.698		3744		3589		3442		3295		3156		3008		2856		2724		2584		2433		2300		2158		2037		1901		1797		1700		1636

		119		23.674		3745		3591		3442		3292		3146		3002		2861		2721		2576		2436		2300		2157		2030		1911		1785		1713		1628

		120		23.65		3743		3584		3439		3296		3154		2996		2858		2724		2569		2439		2296		2167		2029		1906		1794		1696		1627

		121		23.626		3743		3586		3439		3295		3148		3011		2859		2728		2588		2438		2297		2153		2029		1894		1790		1692		1628

		122		23.603		3743		3591		3439		3292		3154		3006		2863		2725		2582		2442		2298		2162		2031		1907		1799		1704		1639

		123		23.579		3734		3591		3436		3297		3145		3003		2866		2719		2578		2446		2302		2169		2023		1907		1797		1711		1639

		124		23.555		3740		3583		3437		3305		3158		3008		2867		2723		2570		2429		2306		2158		2029		1903		1795		1702		1633

		125		23.531		3738		3592		3439		3292		3147		3005		2859		2733		2589		2437		2300		2161		2030		1907		1796		1697		1631

		126		23.508		3730		3592		3435		3292		3149		2999		2851		2721		2585		2438		2300		2161		2032		1903		1788		1710		1630

		127		23.484		3729		3589		3450		3302		3152		3015		2862		2720		2588		2438		2304		2159		2033		1901		1794		1702		1639

		128		23.46		3732		3591		3433		3289		3150		3005		2866		2714		2582		2444		2292		2163		2030		1909		1795		1704		1633

		129		23.436		3738		3588		3439		3295		3153		2998		2853		2726		2577		2432		2296		2164		2029		1905		1790		1712		1633

		130		23.413		3729		3581		3442		3301		3148		3001		2850		2716		2588		2429		2298		2161		2028		1904		1798		1706		1629

		131		23.389		3734		3585		3443		3293		3154		3009		2859		2722		2571		2442		2299		2153		2033		1902		1791		1706		1639

		132		23.365		3731		3592		3430		3295		3147		3000		2857		2718		2575		2445		2304		2166		2031		1906		1796		1702		1633

		133		23.341		3737		3583		3439		3292		3147		3000		2860		2718		2584		2435		2300		2161		2031		1912		1793		1696		1635

		134		23.318		3730		3589		3441		3299		3158		3015		2857		2721		2587		2442		2299		2166		2031		1897		1788		1701		1636

		135		23.294		3735		3575		3444		3293		3148		3000		2861		2723		2579		2434		2301		2153		2020		1900		1783		1692		1634

		136		23.27		3732		3587		3439		3295		3149		3006		2865		2728		2575		2445		2300		2164		2023		1909		1795		1700		1637

		137		23.246		3721		3582		3435		3301		3152		3012		2865		2722		2575		2436		2297		2162		2037		1901		1792		1704		1637

		138		23.223		3737		3585		3436		3301		3160		3006		2854		2729		2586		2445		2306		2163		2029		1899		1792		1698		1622

		139		23.199		3735		3585		3436		3293		3143		3010		2859		2722		2582		2436		2297		2155		2028		1906		1799		1704		1626

		140		23.175		3731		3588		3437		3302		3144		3012		2856		2713		2574		2436		2296		2158		2032		1909		1797		1702		1633

		141		23.151		3731		3580		3436		3297		3152		3005		2870		2720		2590		2448		2297		2171		2031		1903		1795		1704		1639

		142		23.128		3733		3580		3442		3292		3151		3008		2859		2715		2577		2439		2299		2163		2023		1911		1791		1706		1639

		143		23.104		3740		3584		3434		3300		3157		3015		2867		2717		2573		2447		2304		2159		2032		1896		1796		1699		1639

		144		23.08		3725		3577		3442		3292		3145		3004		2859		2724		2579		2445		2300		2165		2030		1903		1791		1710		1630

		145		23.056		3729		3587		3429		3293		3151		3003		2856		2732		2587		2433		2303		2168		2034		1912		1793		1705		1639

		146		23.033		3728		3581		3441		3296		3154		3008		2866		2719		2574		2435		2301		2155		2026		1909		1788		1705		1635

		147		23.009		3728		3578		3430		3295		3143		2998		2856		2711		2577		2440		2304		2156		2016		1898		1797		1691		1631

		148		22.985		3727		3592		3443		3296		3145		2998		2858		2720		2572		2434		2298		2166		2035		1907		1791		1709		1633

		149		22.961		3730		3572		3440		3293		3148		3005		2861		2712		2575		2439		2301		2153		2019		1911		1790		1703		1630

		150		22.938		3724		3594		3435		3293		3137		3008		2858		2718		2576		2438		2293		2164		2021		1907		1792		1702		1632

		151		22.914		3728		3581		3434		3293		3154		2997		2864		2722		2588		2437		2303		2168		2031		1902		1785		1703		1635

		152		22.89		3729		3577		3430		3296		3153		3010		2859		2718		2577		2445		2299		2159		2022		1896		1791		1697		1633

		153		22.866		3730		3585		3429		3291		3153		3005		2861		2721		2573		2439		2304		2172		2035		1913		1825		1736		1680

		154		22.843		3730		3584		3433		3289		3148		3004		2861		2715		2582		2446		2295		2154		2028		1900		1808		1710		1648

		155		22.819		3727		3579		3431		3294		3148		3011		2863		2723		2583		2436		2306		2164		2026		1908		1805		1709		1631

		156		22.795		3726		3585		3428		3290		3152		3005		2861		2721		2577		2441		2296		2157		2027		1908		1790		1694		1631

		157		22.771		3734		3579		3435		3297		3149		3010		2855		2718		2581		2435		2296		2160		2031		1906		1791		1697		1625

		158		22.748		3740		3576		3443		3288		3154		3005		2858		2718		2582		2438		2289		2164		2036		1907		1791		1705		1631

		159		22.724		3727		3578		3439		3296		3149		3004		2854		2719		2579		2442		2302		2162		2032		1905		1794		1695		1641

		160		22.7		3730		3586		3441		3298		3146		3012		2859		2723		2572		2432		2290		2167		2018		1909		1797		1696		1631

		161		22.676		3727		3583		3436		3291		3150		3004		2859		2716		2577		2431		2299		2159		2034		1902		1793		1701		1634

		162		22.653		3731		3593		3439		3293		3152		3007		2862		2727		2584		2438		2302		2155		2028		1906		1797		1701		1634

		163		22.629		3728		3582		3437		3286		3150		3001		2857		2716		2577		2440		2287		2163		2029		1905		1801		1713		1639

		164		22.605		3729		3582		3436		3298		3153		3004		2853		2719		2579		2443		2302		2165		2031		1908		1795		1699		1638

		165		22.581		3725		3586		3438		3295		3155		3007		2860		2717		2586		2438		2297		2165		2033		1895		1786		1696		1623

		166		22.558		3735		3574		3438		3301		3152		3001		2857		2721		2581		2436		2290		2173		2026		1902		1786		1699		1634

		167		22.534		3732		3573		3438		3285		3147		3007		2860		2715		2576		2440		2309		2158		2031		1910		1795		1701		1632

		168		22.51		3734		3586		3440		3287		3151		3001		2849		2723		2581		2438		2296		2160		2026		1911		1800		1704		1645

		169		22.486		3738		3588		3434		3291		3161		3006		2862		2729		2584		2440		2300		2165		2030		1909		1797		1708		1638

		170		22.463		3733		3577		3437		3296		3142		2998		2857		2715		2573		2440		2299		2154		2029		1903		1794		1693		1632

		171		22.439		3735		3581		3444		3295		3147		3000		2864		2718		2581		2441		2298		2168		2032		1909		1797		1701		1632

		172		22.415		3736		3583		3430		3297		3151		3005		2862		2709		2578		2436		2298		2162		2030		1913		1798		1707		1641

		173		22.391		3731		3583		3436		3291		3154		2997		2859		2717		2576		2440		2293		2163		2027		1905		1798		1702		1641

		174		22.368		3735		3591		3447		3291		3148		3010		2857		2719		2575		2438		2309		2160		2032		1907		1796		1693		1630

		175		22.344		3723		3579		3439		3295		3146		2996		2866		2717		2580		2440		2308		2167		2029		1907		1788		1708		1625

		176		22.32		3733		3579		3440		3292		3151		3004		2860		2717		2582		2430		2299		2152		2030		1902		1802		1703		1634

		177		22.296		3742		3587		3435		3296		3153		3009		2860		2717		2579		2452		2303		2154		2018		1909		1799		1706		1642

		178		22.273		3737		3590		3437		3306		3147		3002		2862		2723		2588		2445		2304		2167		2032		1903		1782		1709		1634

		179		22.249		3735		3583		3432		3300		3147		3004		2860		2718		2576		2446		2300		2158		2023		1904		1790		1699		1624

		180		22.225		3733		3587		3438		3283		3147		3003		2859		2723		2580		2439		2303		2160		2032		1906		1798		1695		1635

		181		22.201		3737		3580		3436		3300		3144		3013		2864		2717		2570		2431		2309		2157		2030		1909		1803		1708		1637

		182		22.178		3738		3577		3435		3290		3150		3003		2851		2721		2579		2446		2299		2157		2023		1902		1794		1703		1645

		183		22.154		3738		3593		3442		3293		3158		3004		2861		2717		2575		2438		2304		2162		2039		1918		1795		1698		1628

		184		22.13		3738		3586		3446		3301		3155		3007		2858		2718		2578		2443		2294		2166		2027		1900		1794		1703		1630

		185		22.106		3740		3587		3436		3295		3152		3011		2858		2710		2578		2446		2298		2156		2030		1904		1791		1711		1646

		186		22.083		3740		3593		3444		3297		3148		3004		2857		2722		2578		2434		2299		2160		2031		1905		1792		1710		1643

		187		22.059		3744		3589		3449		3298		3145		2999		2866		2718		2575		2445		2302		2169		2045		1926		1822		1759		1715

		188		22.035		3742		3592		3442		3300		3150		3005		2860		2722		2571		2443		2300		2163		2022		1904		1801		1704		1635

		189		22.011		3750		3585		3439		3299		3143		3003		2861		2716		2581		2440		2292		2160		2028		1901		1798		1702		1636

		190		21.988		3738		3583		3444		3294		3158		3010		2862		2721		2580		2443		2296		2160		2028		1910		1800		1707		1646

		191		21.964		3744		3585		3439		3291		3138		3009		2858		2720		2584		2439		2295		2157		2035		1899		1792		1702		1635

		192		21.94		3743		3598		3451		3292		3149		3020		2861		2719		2576		2441		2303		2173		2024		1903		1788		1703		1630

		193		21.916		3735		3583		3438		3292		3158		3009		2864		2726		2573		2440		2295		2168		2018		1904		1799		1703		1634

		194		21.893		3744		3593		3443		3293		3140		3002		2863		2715		2581		2431		2300		2165		2024		1902		1798		1707		1639

		195		21.869		3743		3578		3431		3298		3155		3008		2853		2714		2585		2432		2295		2165		2024		1911		1796		1716		1641

		196		21.845		3752		3586		3439		3291		3147		3004		2855		2719		2579		2443		2304		2157		2034		1907		1784		1696		1630

		197		21.821		3748		3596		3441		3294		3147		3006		2860		2722		2577		2441		2299		2161		2027		1897		1788		1708		1630

		198		21.798		3752		3592		3441		3299		3155		3007		2862		2714		2587		2437		2298		2160		2024		1906		1802		1693		1643

		199		21.774		3745		3587		3444		3295		3147		2999		2864		2718		2580		2447		2288		2158		2027		1902		1801		1700		1650

		200		21.75		3746		3599		3443		3296		3148		3003		2866		2709		2573		2435		2302		2169		2023		1905		1791		1704		1642

		201		21.726		3764		3604		3446		3296		3150		3002		2869		2718		2575		2437		2293		2169		2026		1909		1783		1698		1634

		202		21.703		3745		3594		3441		3298		3148		3010		2854		2716		2580		2432		2303		2168		2028		1907		1792		1701		1641

		203		21.679		3755		3593		3443		3298		3160		3011		2859		2710		2578		2430		2297		2166		2026		1893		1794		1705		1645

		204		21.655		3756		3592		3440		3292		3154		3008		2866		2723		2581		2439		2293		2162		2020		1911		1794		1710		1635

		205		21.631		3764		3594		3438		3296		3148		3000		2856		2719		2580		2444		2298		2161		2029		1902		1784		1698		1639

		206		21.608		3760		3589		3455		3292		3146		3004		2860		2726		2580		2446		2303		2157		2032		1904		1794		1698		1627

		207		21.584		3759		3598		3443		3298		3142		3006		2858		2715		2573		2441		2302		2158		2035		1908		1789		1702		1641

		208		21.56		3763		3604		3437		3294		3142		3005		2866		2723		2583		2445		2297		2160		2030		1902		1796		1707		1646

		209		21.536		3764		3595		3441		3293		3141		3003		2854		2714		2576		2438		2300		2164		2026		1901		1795		1710		1639

		210		21.513		3754		3594		3437		3290		3149		3011		2858		2722		2580		2443		2302		2157		2030		1904		1798		1695		1640

		211		21.489		3764		3605		3439		3295		3155		3002		2865		2722		2582		2443		2296		2169		2029		1906		1789		1701		1636

		212		21.465		3773		3596		3446		3301		3149		3010		2862		2720		2574		2438		2297		2158		2031		1899		1793		1718		1643

		213		21.441		3754		3601		3438		3300		3144		3006		2863		2718		2583		2442		2297		2165		2037		1916		1806		1733		1684

		214		21.418		3764		3603		3450		3298		3149		3011		2858		2720		2578		2446		2292		2158		2030		1904		1796		1710		1642

		215		21.394		3763		3598		3448		3303		3156		3001		2862		2723		2577		2436		2303		2164		2030		1910		1794		1706		1643

		216		21.37		3765		3600		3444		3291		3142		3009		2864		2716		2570		2433		2297		2163		2015		1905		1800		1706		1640

		217		21.346		3769		3598		3457		3309		3156		3004		2860		2722		2589		2439		2302		2158		2032		1906		1797		1701		1640

		218		21.323		3767		3602		3443		3301		3152		3004		2860		2715		2584		2439		2291		2163		2035		1905		1791		1708		1635

		219		21.299		3770		3603		3453		3297		3151		3009		2857		2714		2584		2434		2302		2156		2026		1906		1790		1703		1629

		220		21.275		3770		3605		3455		3297		3145		3003		2857		2728		2577		2441		2298		2157		2028		1901		1798		1699		1638

		221		21.251		3772		3595		3450		3301		3148		3003		2859		2719		2573		2447		2287		2155		2027		1904		1797		1707		1643

		222		21.228		3767		3603		3447		3302		3149		3002		2871		2716		2586		2439		2296		2164		2018		1905		1800		1704		1646

		223		21.204		3776		3614		3446		3290		3153		3007		2855		2719		2579		2435		2303		2160		2028		1906		1791		1703		1639

		224		21.18		3782		3600		3459		3306		3151		2999		2862		2713		2581		2429		2298		2154		2033		1906		1803		1704		1637

		225		21.156		3772		3606		3443		3303		3154		3002		2854		2720		2579		2440		2299		2167		2030		1899		1795		1707		1641

		226		21.133		3789		3600		3450		3304		3142		3007		2862		2718		2586		2438		2304		2158		2027		1912		1805		1709		1649

		227		21.109		3777		3609		3441		3297		3152		2999		2862		2717		2571		2441		2305		2161		2037		1910		1799		1701		1640

		228		21.085		3782		3606		3449		3304		3157		3006		2867		2720		2582		2444		2304		2170		2040		1938		1863		1811		1771

		229		21.061		3784		3608		3441		3293		3158		3012		2848		2716		2586		2428		2297		2162		2036		1905		1791		1715		1650

		230		21.038		3772		3617		3444		3293		3148		3008		2859		2717		2567		2434		2288		2159		2030		1909		1794		1709		1644

		231		21.014		3787		3605		3455		3301		3146		3000		2859		2712		2568		2441		2298		2161		2034		1905		1798		1707		1651

		232		20.99		3778		3607		3449		3298		3153		3005		2867		2709		2575		2444		2300		2162		2029		1907		1799		1703		1642

		233		20.966		3793		3622		3452		3302		3142		3011		2860		2724		2571		2443		2307		2157		2029		1903		1793		1708		1645

		234		20.943		3794		3611		3444		3288		3152		2999		2862		2723		2580		2445		2294		2168		2026		1909		1794		1698		1645

		235		20.919		3786		3611		3445		3302		3146		3005		2855		2711		2578		2432		2293		2169		2018		1910		1792		1709		1648

		236		20.895		3802		3613		3454		3297		3150		3016		2874		2728		2582		2448		2306		2161		2024		1907		1804		1708		1640

		237		20.871		3785		3614		3435		3296		3145		3001		2867		2717		2570		2436		2296		2159		2024		1904		1797		1711		1647

		238		20.848		3794		3609		3452		3302		3156		2999		2854		2718		2585		2439		2294		2161		2037		1903		1791		1707		1631

		239		20.824		3793		3613		3448		3297		3146		3000		2860		2716		2570		2439		2306		2154		2021		1906		1808		1710		1640

		240		20.8		3792		3613		3454		3293		3154		3002		2865		2722		2580		2435		2302		2168		2033		1920		1794		1716		1645

		241		20.776		3790		3613		3454		3311		3154		3008		2862		2716		2578		2433		2302		2159		2021		1904		1803		1697		1641

		242		20.753		3793		3624		3454		3298		3157		3007		2866		2723		2575		2443		2306		2166		2025		1909		1797		1707		1642

		243		20.729		3793		3619		3452		3306		3149		3012		2858		2718		2583		2434		2299		2169		2027		1915		1805		1712		1646

		244		20.705		3789		3614		3450		3293		3151		3010		2862		2712		2573		2449		2310		2161		2027		1914		1799		1713		1642

		245		20.681		3795		3608		3455		3298		3159		3007		2860		2722		2575		2445		2306		2161		2020		1910		1806		1705		1656

		246		20.658		3795		3620		3451		3301		3150		3005		2861		2719		2566		2440		2298		2169		2032		1899		1796		1704		1645

		247		20.634		3790		3620		3445		3308		3148		3006		2862		2722		2581		2442		2303		2169		2036		1916		1812		1737		1672

		248		20.61		3797		3621		3454		3301		3158		3009		2860		2718		2577		2440		2297		2169		2028		1910		1808		1709		1648

		249		20.586		3802		3616		3455		3307		3152		3011		2853		2721		2582		2440		2302		2159		2027		1901		1797		1710		1645

		250		20.563		3797		3611		3444		3301		3143		3007		2858		2711		2586		2431		2308		2160		2037		1902		1794		1705		1640

		251		20.539		3795		3631		3450		3300		3152		3006		2859		2721		2580		2434		2300		2163		2031		1917		1792		1699		1645

		252		20.515		3804		3619		3454		3304		3158		3005		2862		2715		2578		2433		2309		2166		2027		1896		1797		1712		1641

		253		20.491		3804		3615		3458		3299		3167		3011		2872		2718		2581		2434		2301		2165		2025		1898		1794		1714		1650

		254		20.468		3803		3616		3454		3302		3157		3001		2861		2722		2582		2438		2304		2153		2030		1909		1801		1707		1643

		255		20.444		3804		3611		3453		3302		3149		3004		2850		2708		2577		2436		2306		2163		2024		1904		1805		1710		1644

		256		20.42		3797		3616		3456		3301		3161		3006		2860		2716		2577		2433		2300		2164		2031		1915		1800		1700		1642

		257		20.396		3803		3611		3444		3303		3148		3005		2857		2715		2584		2432		2302		2165		2029		1900		1800		1717		1646

		258		20.373		3809		3614		3453		3298		3157		2993		2860		2722		2575		2433		2297		2164		2025		1903		1791		1708		1651

		259		20.349		3812		3621		3451		3304		3144		3006		2864		2716		2582		2449		2296		2166		2026		1910		1796		1709		1646

		260		20.325		3808		3618		3456		3304		3151		2999		2861		2724		2582		2437		2288		2163		2030		1909		1802		1701		1649

		261		20.301		3804		3618		3443		3287		3156		2995		2865		2718		2583		2438		2299		2164		2040		1916		1798		1722		1643

		262		20.278		3808		3629		3451		3315		3158		3008		2863		2720		2584		2439		2296		2158		2027		1911		1800		1714		1641

		263		20.254		3807		3620		3456		3310		3156		3011		2860		2716		2575		2432		2296		2161		2030		1907		1804		1707		1643

		264		20.23		3805		3614		3456		3306		3161		3005		2859		2721		2577		2443		2302		2153		2025		1903		1794		1712		1644

		265		20.206		3804		3610		3454		3311		3157		3007		2862		2720		2590		2449		2297		2155		2025		1902		1802		1703		1647

		266		20.183		3808		3622		3450		3300		3151		3004		2857		2722		2586		2441		2299		2164		2032		1911		1796		1711		1655

		267		20.159		3803		3623		3452		3298		3150		3012		2855		2716		2574		2436		2298		2157		2037		1902		1795		1711		1643

		268		20.135		3814		3619		3461		3304		3155		3007		2862		2717		2581		2443		2303		2170		2027		1913		1802		1713		1642

		269		20.111		3813		3620		3452		3304		3149		3004		2863		2719		2580		2439		2303		2160		2027		1902		1803		1703		1641

		270		20.088		3810		3619		3450		3304		3163		3005		2865		2718		2582		2449		2302		2161		2034		1906		1796		1715		1646

		271		20.064		3812		3630		3453		3300		3155		3003		2865		2725		2591		2434		2303		2162		2032		1904		1803		1717		1654

		272		20.04		3810		3613		3454		3304		3145		3008		2855		2722		2576		2438		2304		2153		2027		1905		1803		1706		1645

		273		20.016		3805		3619		3454		3302		3149		3007		2868		2729		2577		2436		2299		2161		2034		1911		1804		1701		1637

		274		19.993		3811		3623		3450		3304		3152		3003		2860		2716		2576		2441		2300		2170		2036		1904		1801		1709		1650

		275		19.969		3814		3621		3463		3305		3153		3004		2860		2725		2576		2433		2307		2163		2037		1909		1799		1713		1642

		276		19.945		3806		3617		3458		3306		3154		3005		2856		2722		2576		2432		2296		2161		2022		1905		1802		1710		1646

		277		19.921		3803		3626		3454		3306		3146		3005		2858		2721		2578		2438		2299		2158		2026		1900		1805		1706		1653

		278		19.898		3802		3617		3455		3299		3155		3005		2865		2714		2583		2440		2299		2159		2023		1908		1793		1702		1639

		279		19.874		3813		3623		3447		3309		3154		3009		2859		2712		2580		2439		2301		2173		2028		1912		1800		1710		1648

		280		19.85		3815		3621		3462		3300		3159		3007		2867		2723		2584		2446		2295		2154		2033		1910		1799		1713		1661

		281		19.826		3808		3620		3458		3304		3153		3006		2856		2719		2574		2435		2298		2161		2031		1903		1795		1713		1649

		282		19.803		3809		3628		3454		3304		3148		3007		2856		2726		2576		2440		2303		2165		2028		1909		1801		1714		1642

		283		19.779		3808		3619		3459		3316		3151		3003		2867		2711		2585		2438		2293		2176		2028		1906		1795		1719		1652

		284		19.755		3809		3622		3459		3305		3161		3004		2851		2714		2581		2447		2296		2160		2034		1912		1796		1710		1653

		285		19.731		3803		3621		3454		3300		3150		3011		2855		2721		2585		2449		2309		2163		2027		1915		1796		1714		1655

		286		19.708		3807		3620		3457		3311		3144		3005		2872		2716		2577		2439		2292		2164		2020		1912		1807		1707		1646

		287		19.684		3803		3614		3453		3303		3148		3005		2857		2715		2577		2447		2305		2161		2031		1908		1797		1708		1649

		288		19.66		3810		3620		3455		3299		3155		3000		2860		2722		2571		2438		2304		2166		2035		1908		1796		1710		1652

		289		19.636		3811		3624		3453		3299		3160		3005		2865		2712		2586		2446		2291		2164		2031		1909		1800		1713		1652

		290		19.613		3805		3619		3448		3301		3157		3004		2862		2719		2578		2441		2299		2169		2028		1907		1801		1708		1654

		291		19.589		3806		3620		3458		3303		3147		3002		2862		2723		2580		2437		2299		2163		2034		1912		1797		1716		1647

		292		19.565		3802		3619		3447		3301		3153		3004		2859		2715		2587		2435		2297		2165		2031		1909		1796		1706		1651

		293		19.541		3794		3627		3453		3305		3153		3005		2859		2719		2582		2441		2304		2164		2036		1917		1804		1724		1657

		294		19.518		3811		3615		3459		3306		3155		3003		2864		2719		2578		2440		2304		2165		2023		1916		1797		1717		1639

		295		19.494		3800		3620		3448		3300		3155		3012		2860		2720		2584		2441		2290		2160		2020		1899		1810		1715		1652

		296		19.47		3802		3619		3456		3310		3146		3012		2862		2723		2578		2440		2294		2169		2041		1915		1800		1702		1639

		297		19.446		3798		3617		3457		3305		3160		3001		2862		2720		2579		2440		2293		2161		2031		1909		1802		1717		1648

		298		19.423		3803		3621		3454		3302		3155		3005		2858		2724		2580		2442		2294		2164		2038		1907		1804		1716		1656

		299		19.399		3807		3619		3453		3306		3153		3003		2870		2719		2581		2437		2301		2159		2034		1909		1803		1709		1653

		300		19.375		3805		3614		3461		3299		3164		3012		2863		2726		2584		2443		2304		2167		2032		1909		1804		1710		1654

		301		19.351		3804		3611		3455		3301		3161		3009		2854		2729		2570		2442		2295		2164		2028		1914		1798		1718		1650

		302		19.328		3805		3618		3451		3309		3158		3007		2864		2723		2582		2441		2297		2167		2032		1914		1802		1717		1649

		303		19.304		3796		3621		3450		3307		3147		3004		2855		2722		2582		2442		2300		2159		2026		1907		1797		1709		1651

		304		19.28		3795		3614		3448		3291		3151		3001		2861		2721		2581		2442		2304		2177		2036		1910		1801		1717		1648

		305		19.256		3797		3611		3456		3299		3148		3002		2856		2720		2573		2445		2299		2166		2025		1912		1802		1709		1649

		306		19.233		3793		3618		3458		3297		3154		3007		2855		2715		2576		2443		2301		2161		2039		1911		1798		1707		1656

		307		19.209		3808		3617		3455		3295		3154		3009		2867		2726		2577		2440		2306		2172		2024		1909		1800		1722		1670

		308		19.185		3796		3613		3454		3300		3155		3006		2868		2718		2583		2446		2305		2163		2034		1911		1802		1713		1655

		309		19.161		3792		3607		3448		3303		3148		2998		2861		2727		2575		2436		2301		2163		2026		1913		1803		1718		1656

		310		19.138		3795		3611		3453		3300		3154		3009		2867		2721		2589		2444		2306		2162		2035		1912		1804		1712		1652

		311		19.114		3795		3611		3451		3305		3153		3007		2870		2722		2581		2440		2307		2158		2032		1906		1807		1727		1657

		312		19.09		3791		3608		3456		3297		3160		3005		2865		2716		2587		2444		2308		2166		2033		1915		1798		1710		1640

		313		19.066		3799		3622		3438		3302		3149		3014		2859		2719		2580		2443		2298		2164		2032		1911		1805		1717		1652

		314		19.043		3792		3614		3447		3298		3151		3001		2875		2717		2587		2444		2307		2162		2035		1909		1804		1716		1650

		315		19.019		3797		3616		3454		3303		3155		2997		2859		2723		2575		2441		2308		2158		2032		1914		1798		1725		1663

		316		18.995		3788		3610		3449		3309		3148		3007		2868		2725		2580		2436		2307		2163		2029		1915		1802		1712		1664

		317		18.971		3799		3619		3451		3310		3146		3007		2874		2720		2589		2444		2304		2171		2039		1917		1807		1713		1655

		318		18.948		3796		3610		3464		3294		3161		3011		2865		2725		2583		2444		2307		2160		2038		1912		1802		1716		1656

		319		18.924		3789		3603		3449		3303		3154		3014		2861		2718		2587		2439		2304		2165		2042		1911		1810		1718		1653

		320		18.9		3792		3615		3445		3310		3149		2999		2857		2722		2581		2433		2303		2163		2035		1912		1804		1715		1659

		321		18.876		3794		3606		3451		3308		3160		3016		2861		2722		2575		2442		2310		2162		2037		1913		1802		1718		1650

		322		18.853		3793		3600		3452		3307		3152		3003		2865		2722		2581		2452		2305		2167		2039		1916		1803		1724		1662

		323		18.829		3782		3607		3448		3297		3158		3010		2864		2720		2573		2435		2308		2170		2037		1909		1800		1709		1653

		324		18.805		3784		3607		3458		3306		3156		3001		2866		2728		2584		2439		2309		2170		2023		1908		1800		1731		1660

		325		18.781		3780		3609		3453		3306		3155		3016		2863		2727		2585		2447		2297		2159		2032		1911		1800		1719		1649

		326		18.758		3786		3604		3445		3304		3150		2998		2859		2726		2585		2443		2301		2166		2030		1914		1803		1716		1649

		327		18.734		3778		3604		3448		3308		3153		3005		2858		2727		2584		2442		2309		2162		2035		1908		1796		1713		1648

		328		18.71		3786		3605		3452		3302		3150		2998		2865		2719		2595		2443		2308		2158		2032		1912		1804		1716		1646

		329		18.686		3772		3613		3447		3301		3148		3009		2866		2720		2574		2439		2307		2166		2034		1902		1800		1714		1657

		330		18.663		3778		3617		3443		3299		3160		3012		2863		2730		2586		2453		2296		2174		2033		1913		1801		1709		1651

		331		18.639		3782		3611		3452		3307		3156		3013		2862		2715		2585		2451		2306		2167		2039		1909		1807		1710		1655

		332		18.615		3780		3601		3449		3299		3158		3006		2861		2725		2582		2446		2306		2171		2030		1917		1799		1714		1652

		333		18.591		3778		3603		3456		3300		3156		3009		2867		2726		2581		2448		2306		2163		2032		1907		1798		1714		1661

		334		18.568		3784		3612		3450		3297		3153		3012		2866		2721		2579		2446		2309		2170		2025		1908		1806		1719		1652

		335		18.544		3775		3610		3453		3304		3158		3008		2860		2723		2593		2453		2298		2170		2036		1920		1803		1719		1652

		336		18.52		3769		3600		3450		3304		3145		3010		2865		2715		2582		2442		2300		2170		2040		1909		1802		1707		1644

		337		18.496		3768		3600		3449		3311		3162		3021		2871		2719		2590		2443		2306		2173		2038		1917		1811		1725		1654

		338		18.473		3773		3600		3442		3304		3149		3010		2863		2725		2579		2440		2306		2164		2034		1907		1806		1713		1652

		339		18.449		3780		3598		3453		3299		3160		3010		2861		2728		2587		2448		2303		2170		2042		1918		1814		1735		1676

		340		18.425		3767		3599		3446		3310		3153		3014		2861		2723		2587		2437		2309		2170		2040		1920		1823		1733		1671

		341		18.401		3777		3609		3441		3303		3153		3009		2860		2727		2585		2451		2299		2161		2037		1911		1804		1721		1651

		342		18.378		3766		3603		3450		3302		3162		3007		2860		2722		2593		2452		2299		2172		2035		1916		1802		1721		1658

		343		18.354		3770		3602		3457		3297		3155		3011		2864		2730		2592		2443		2303		2170		2040		1919		1806		1712		1659

		344		18.33		3756		3604		3451		3297		3155		3010		2867		2729		2581		2442		2309		2169		2033		1922		1808		1717		1656

		345		18.306		3772		3601		3451		3294		3163		3009		2860		2728		2584		2447		2308		2169		2033		1909		1798		1713		1639

		346		18.283		3769		3603		3447		3303		3155		3019		2868		2733		2592		2451		2312		2170		2036		1911		1807		1724		1647

		347		18.259		3771		3597		3449		3311		3157		3008		2865		2732		2584		2439		2308		2171		2037		1919		1803		1721		1658

		348		18.235		3769		3590		3444		3300		3160		3017		2863		2733		2588		2451		2304		2174		2038		1921		1807		1720		1658

		349		18.211		3768		3610		3445		3290		3157		3017		2865		2725		2582		2450		2309		2175		2039		1919		1817		1724		1654

		350		18.188		3755		3596		3452		3302		3153		3010		2865		2724		2590		2453		2300		2170		2038		1912		1802		1718		1650

		351		18.164		3767		3593		3445		3308		3158		3010		2862		2730		2584		2446		2308		2176		2038		1913		1799		1724		1653

		352		18.14		3758		3599		3445		3309		3162		3013		2868		2727		2587		2445		2298		2161		2029		1914		1812		1723		1653

		353		18.116		3768		3598		3442		3315		3155		3013		2863		2722		2580		2444		2305		2168		2037		1918		1804		1719		1648

		354		18.093		3755		3588		3449		3303		3153		3008		2861		2730		2583		2453		2305		2169		2030		1918		1800		1713		1653

		355		18.069		3764		3601		3448		3303		3147		3013		2871		2728		2587		2448		2315		2173		2041		1908		1806		1709		1650

		356		18.045		3750		3598		3440		3300		3157		3007		2866		2722		2592		2440		2302		2173		2032		1916		1805		1727		1650

		357		18.021		3761		3597		3447		3305		3159		3015		2867		2724		2584		2452		2305		2176		2041		1923		1808		1720		1662

		358		17.998		3762		3603		3443		3310		3158		3007		2862		2722		2587		2448		2303		2165		2043		1916		1806		1724		1656

		359		17.974		3761		3600		3451		3308		3160		3010		2861		2727		2585		2456		2307		2171		2033		1918		1804		1717		1652

		360		17.95		3755		3601		3445		3298		3157		3017		2870		2730		2581		2448		2303		2165		2042		1921		1808		1718		1664

		361		17.926		3747		3593		3441		3306		3163		3015		2871		2738		2588		2444		2318		2170		2042		1911		1806		1720		1651

		362		17.903		3758		3602		3453		3303		3159		3011		2873		2734		2586		2456		2314		2172		2036		1929		1813		1732		1664

		363		17.879		3759		3601		3449		3313		3150		3009		2871		2730		2581		2448		2311		2175		2036		1920		1812		1733		1643

		364		17.855		3763		3596		3443		3302		3163		3018		2874		2729		2587		2443		2315		2174		2041		1921		1797		1721		1657

		365		17.831		3750		3600		3455		3306		3157		3009		2872		2725		2591		2451		2304		2184		2042		1922		1811		1730		1655

		366		17.808		3749		3597		3451		3309		3153		3011		2876		2724		2591		2448		2305		2169		2039		1912		1818		1725		1661

		367		17.784		3755		3595		3458		3299		3153		3006		2873		2733		2586		2456		2311		2168		2043		1915		1812		1726		1654

		368		17.76		3748		3594		3446		3303		3154		3020		2864		2729		2588		2450		2304		2166		2043		1916		1799		1721		1657

		369		17.736		3752		3596		3443		3302		3154		3014		2875		2732		2585		2451		2312		2178		2044		1912		1808		1714		1647

		370		17.713		3753		3588		3443		3307		3161		3003		2865		2729		2590		2453		2313		2181		2039		1920		1812		1723		1663

		371		17.689		3747		3598		3445		3300		3158		3019		2866		2731		2584		2450		2309		2162		2028		1915		1815		1725		1661

		372		17.665		3763		3594		3448		3307		3159		3014		2872		2725		2588		2446		2312		2176		2046		1916		1816		1729		1653

		373		17.641		3746		3609		3447		3305		3164		3011		2881		2733		2586		2451		2318		2177		2039		1921		1805		1715		1656

		374		17.618		3748		3603		3457		3302		3167		3016		2873		2732		2580		2447		2315		2176		2030		1913		1808		1725		1668

		375		17.594		3740		3591		3442		3300		3162		3017		2862		2728		2596		2443		2314		2176		2047		1920		1808		1726		1662

		376		17.57		3750		3599		3441		3297		3150		3010		2873		2724		2597		2450		2303		2169		2044		1916		1808		1728		1656

		377		17.546		3748		3594		3448		3308		3154		3023		2870		2734		2582		2448		2315		2161		2043		1912		1812		1718		1664

		378		17.523		3761		3591		3452		3311		3161		3014		2877		2738		2588		2453		2307		2184		2043		1914		1810		1725		1661

		379		17.499		3738		3601		3449		3304		3151		3011		2875		2727		2585		2454		2309		2171		2047		1921		1810		1722		1652

		380		17.475		3751		3602		3453		3300		3161		3018		2871		2739		2589		2451		2314		2172		2045		1923		1807		1724		1668

		381		17.451		3748		3604		3458		3301		3158		3018		2865		2734		2602		2451		2312		2172		2046		1916		1812		1724		1666

		382		17.428		3752		3603		3447		3306		3153		3018		2867		2726		2583		2438		2303		2170		2043		1920		1810		1733		1663

		383		17.404		3745		3593		3441		3310		3160		3007		2864		2725		2591		2454		2304		2173		2041		1923		1812		1722		1660

		384		17.38		3756		3603		3446		3306		3155		3016		2869		2730		2592		2451		2315		2176		2047		1923		1812		1717		1657

		385		17.356		3744		3601		3447		3306		3159		3013		2871		2735		2588		2450		2311		2168		2035		1921		1814		1717		1658

		386		17.333		3740		3598		3452		3308		3157		3018		2872		2725		2596		2447		2316		2170		2043		1914		1806		1725		1653

		387		17.309		3746		3597		3439		3298		3152		3014		2873		2729		2592		2446		2312		2175		2050		1914		1807		1718		1666

		388		17.285		3749		3585		3444		3303		3165		3018		2864		2732		2593		2453		2315		2175		2034		1919		1813		1721		1664

		389		17.261		3751		3590		3448		3300		3156		3020		2873		2724		2595		2442		2303		2170		2037		1910		1817		1725		1666

		390		17.238		3745		3600		3448		3307		3150		3007		2879		2731		2592		2451		2309		2165		2039		1916		1812		1725		1656

		391		17.214		3733		3597		3447		3302		3160		3013		2870		2723		2586		2441		2312		2173		2037		1919		1815		1716		1663

		392		17.19		3749		3605		3441		3305		3167		3010		2863		2726		2592		2443		2313		2169		2039		1917		1807		1726		1656

		393		17.166		3753		3596		3446		3299		3148		3021		2870		2730		2590		2447		2304		2166		2032		1923		1807		1714		1659

		394		17.143		3738		3587		3444		3298		3151		3001		2868		2727		2593		2442		2308		2170		2043		1916		1811		1736		1664

		395		17.119		3744		3592		3453		3310		3151		3012		2866		2717		2582		2446		2303		2160		2039		1918		1813		1720		1660

		396		17.095		3741		3592		3441		3302		3150		3019		2866		2732		2589		2449		2303		2166		2043		1921		1808		1721		1665

		397		17.071		3738		3585		3436		3297		3154		3004		2867		2720		2586		2444		2312		2167		2033		1928		1816		1727		1664

		398		17.048		3747		3596		3437		3302		3152		3017		2857		2722		2580		2447		2307		2163		2036		1919		1812		1724		1670

		399		17.024		3735		3596		3439		3301		3150		3004		2857		2717		2585		2457		2309		2170		2042		1927		1807		1720		1661

		400		17		3913		3756		3605		3461		3307		3157		3011		2854		2707		2556		2415		2263		2136		2012		1895		1807		1747





131432

130837

—













